## FamTypes Check Result_MAIN GATE
Family Types Check Result - Revit & Excel
Project/Building Information : - MAIN GATE SECURITY BUILDING
Category | 레빗 부재 유무 | Revit에만 있는 타입 | 엑셀과 레빗에 둘다 있는 타입
1.Floors
| 모델링 X | SL101_Lean Floor_50
| 모델링 X | SL111_RC Floor_150
| 모델링 X | SL122_150mm with Deck 600x75
| 모델링 X | SL352_Unglazed Ceramic Tile_300x300_Waterproof
| 모델링 X | SL531_Liquid Waterproofing
| 모델링 X | SL556_Hardner Floor
| 모델링 X | SL671_Acid/Alkaline Resistant Paint
| 모델링 X | SL781_Anti-Static Vinyl Tile 600x600xH600 Floor
| 모델링 X | SL821_Rigid Extruded Polystyrene Foam Insulation 50mm
| 모델링 X | SL311_Granite Tile_300x300
| 모델링 X | SL322_Marble Tile_300x300
| 모델링 X | SL341_Terrazzo Tile
| 모델링 X | SL351_Unglazed Ceramic Tile_300x300
| 모델링 X | SL381_PVC Tile_300x300
| 모델링 X | SL371_Concrete Tile_300x300
| 모델링 X | SL522_Roof-Waterproofing Membrane
| 모델링 X | SL547_Roof-PE Sheet
| 모델링 X | SL560_Steel Trowel Finish
| 모델링 X | SL621_Acrylic Emulsion Paint
| 모델링 X | SL622_Water Emulsion Paint
| 모델링 X | SL626_Anti-Dust Paint
| 모델링 X | SL672_Epoxy Paint Floor
| 모델링 X | SL361_Acid/Alkaline Resistant Tile_300x300
| 모델링 X | CFS11_ROOF WATERPROOFING SYSTEM)
| 모델링 O |  | H_FL_ACS_RC Slab_T180
| 모델링 O |  | H_FL_ACS_RC Slab_T150
| 모델링 O |  | H_FL_ACS_RC Slab_T110
| 모델링 O |  | H_FL_ACS_FinishFloor_WC
2.Roofs
| 모델링 X | Sloped Glazing
| 모델링 X | H_RF_ACS_RC Slab_T180
| 모델링 X | RF721_Steel Mineral Wool_100mm
| 모델링 X | RF911_Steel-0.5t
| 모델링 X | RF712_Steel-Glass Wool_100mm_1Hr
| 모델링 X | RF111_Warm Roof-Concrete_Tile_250
| 모델링 X | RF121_Cold Roof-Concrete_250
| 모델링 X | EX_샌드위치 패널_100
3.Walls
| 모델링 X | n/a
| 모델링 X | n/a
| 모델링 X | WA111-Exterior RC Wall 200mm
| 모델링 X | WA121-Interior RC Wall 200mm
| 모델링 X | WA211_Exterior-Cement Brick-90mm
| 모델링 X | WA312_Exterior_Cavity Wall_Block-100-50-200
| 모델링 X | WA711_Interior Gypsum Board 100mm (Normal)
| 모델링 X | WA731_Interior Gypsum Board 125mm (2 Hr)
| 모델링 X | WA751-Insulated Steel Sandwich Panel 50mm
| 모델링 X | WA760-Single Sheet Panel Wall
| 모델링 X | FWB21_BlockT100+AirT20+InsulationT50+BlockT190_ext
| 모델링 X | FWM11_Block_T190_int
| 모델링 X | FWM80_Rubber Skirt_100_int
| 모델링 X | E241-01 콘크리트_100
| 모델링 X | E336-02 THK24 로이복층유리+ 80x200 노출바
| 모델링 O | WA811-Skirt Wall
| 모델링 O |  | H_WA_AMMW_Int Wall_Block_T190
| 모델링 O |  | H_WA_ACW_RC Parapet_T120
| 모델링 O |  | H_WA_AMMW_Ext. Cavity Wall_Block_100_50_190
| 모델링 O |  | H_WA_AMMW_Int Wall_Block_T190_Ons Side Tile
4.St Fdn
| 모델링 X | FT113-900x300
| 모델링 X | F00_900 x 300
| 모델링 O | hvacPad_T4000
| 모델링 O |  | H_SF_ACS_SOG T150
| 모델링 O |  | H_SF_ACF_MAT_T450
| 모델링 X |  | H_SF_ACE_MAT_T400
| 모델링 O |  | H_SF_ACS_SOG T100
| 모델링 O |  | H_SF_ACF_W2400xL2400xT500
| 모델링 X |  | H_SF_ACE_EQFDN_T400
| 모델링 O |  | H_SF_ACF_Lean_T100
5.St Col
| 모델링 O |  | H_SC_ACC_W450xL450
| 모델링 O |  | H_SC_ACC_PED_W450xL450
6.St Framing
| 모델링 O |  | H_SB_ACB_B400xH600
| 모델링 O |  | H_SB_ACB_TG_B400xH600
7.Ceilings
| 모델링 X | CE610-Acrylic Emulsion Paint
| 모델링 X | CE620-Water Emulsion Paint
| 모델링 X | Generic
| 모델링 X | FCC31_Fiber Board 600x600_M bar
| 모델링 O |  | H_CE_AMC_Acoustic Ceiling_T Bar_600x600x9T
| 모델링 O |  | H_CE_AMC_Moisture Resistant Ceiling_M Bar_600x1200x9T
8.Doors
| 모델링 X | DR101_1015x2134
| 모델링 X | H_DR_AMD_Single Door_Ext_Steel_1000x2100
| 모델링 O | H_DR_AMD_Single Door_Int_Steel_1050x2100
| 모델링 O |  | H_DR_AMD_Single Door_Int_Steel_1000x2100
| 모델링 O |  | H_DR_AMD_Single Door_Ext_Steel_1050x2100
| 모델링 O |  | H_DR_AMD_Single Door_Ext_Steel_1050x2100_Vision
9.Windows
| 모델링 X | WD311-Steel Double Glazing_1200x1200mm
| 모델링 X | WD313-Aluminum_Double Glazing_1200x1200mm
| 모델링 X | WD315-PVC_Double Glazing_1200x1200mm
| 모델링 X | WD511-Steel_Double Glazing_ 1200x1200mm
| 모델링 X | WD513-Aluminum_Double Glazing_1200x1200mm
| 모델링 X | WD515-PVC_Double Glazing_1200x1200mm
| 모델링 X | WD313-Aluminum_Double Glazing_2400x1200mm 2
| 모델링 X | WD313-Aluminum_Double Glazing_1200x1200mm 2
| 모델링 X | WD513-Aluminum_Double Glazing(/w top hung)_1200x1200mm
| 모델링 O | H_WD_AMW_Rect Opening_W360xH360
| 모델링 O | H_WD_AMW_Rect Opening_W250xH150
| 모델링 X | 0406 x 0610mm
| 모델링 O |  | H_WD_AMW_AL Window_DG_W600xH600_Fixed_1H1V
| 모델링 O |  | H_WD_AMW_AL Window_DG_W3600xH1200_Fixed_4H2V
| 모델링 O |  | H_WD_AMW_PVC Window_DG_W1200xH1200_Double_Fixed(Top)_Top Hung(Bottom)
| 모델링 O |  | H_WD_AMW_PVC Window_DG_W1200xH1200_Single_Fixed(Top)_Top Hung(Bottom)
| 모델링 O |  | H_WD_AMW_AL Louver_W610xH610
10.Stairs
| 모델링 X | None
| 모델링 X | Concrete Stair_Indoor
| 모델링 X | Precast Stair
| 모델링 X | Steel Stair with Grating Tread_Indoor
| 모델링 X | Concrete Stair_Outdoor
| 모델링 X | Steel Stair with Grating Tread_Outdoor
| 모델링 O |  | H_SR_ACR_Concrete Stair_Outdoor_W1000
11.Railings
| 모델링 X | Default new Railing System Type
| 모델링 O |  | H_RL_AMH_Steel Handrail_H1100
13.Generic
| 모델링 X | 600mm Arial
| 모델링 X | Non-Caged Ladder-Type 1
| 모델링 X | Type 1
| 모델링 X | Dike_Thk200
| 모델링 X | LF02ZCK001_DOG HOUSE_RC_rAA
| 모델링 X | STOOP_SLAB EDGE(계단부분)
| 모델링 X | Downspout_100
| 모델링 X | H_GM_AMS_Steel Downspout D100
| 모델링 X | Construction_Roof-Accessories_Weland-Stål-AB_Cat-ladder-with-bracket-set-700-1000mm
| 모델링 X | 0-3/4"x3/16" (19-4)
| 모델링 X | 1" x 1/8" (19-4)
| 모델링 X | 1" x 3/16" (19-4)
| 모델링 X | 1" x 1/4" (19-4)
| 모델링 X | 1-1/4" x 1/8" (19-4)
| 모델링 X | 1-1/4" x 3/16" (19-4)
| 모델링 X | 1-1/4" x 1/4" (19-4)
| 모델링 X | 1-1/2" x 1/8" (19-4)
| 모델링 X | 1-1/2" x 3/16" (19-4)
| 모델링 X | 1-1/2" x 1/4" (19-4)
| 모델링 X | 1-3/4" x 3/16" (19-4)
| 모델링 X | 1-3/4" x 1/4" (19-4)
| 모델링 X | 2" x 3/16" (19-4)
| 모델링 X | 2" x 1/4" (19-4)
| 모델링 X | 2-1/4" x 3/16" (19-4)
| 모델링 X | 2-1/4" x 1/4" (19-4)
| 모델링 X | 2-1/2" x 3/16" (19-4)
| 모델링 X | 2-1/2" x 1/4" (19-4)
| 모델링 X | Default
| 모델링 X | Door_Coiling_Dynaco_Control-Box
| 모델링 X | with Sill
| 모델링 X | Picture Frame
| 모델링 X | with Sill
| 모델링 X | Picture Frame
| 모델링 X | M_Muntin Pattern_2x2
| 모델링 X |  | H_GM_ASL_Caged Ladder_Bracket Set 150