## RFQ
REQUEST FOR QUOTATION
■ Project : Anma-do 528MW Offshore Wind Farm Project | [6 empty] | 2022-03-02 16:43
WORK PACKAGE | PROPERTIES | WORK DEMARCATION |  |  |  |  | DESCRIPTIONS
|  | ARCH. | STRU. | CIVIL | MEP+Comm+Fire | BOM
WP 1-1 | O&M Building & Warehouse on Juk-Do | Arup | Arup | Local | Local | Local | 1. GFA of O&M Building : app. 600m2 2. GFA of Warehouse : app. 800m2 3. The following design works with producing bills of quantities shall be undertaken by Sub-consultant, but not limited to : -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. -. MEP (Mechanical, Electrical and Plumbing works in building construction) -. Comm. and FF (Fire Fighting)
WP 1-2 | O&M Building & Warehouse on LP 5 | Arup | Arup | Local | Local | Local | 1. GFA of O&M Building : app. 600m2 2. GFA of Warehouse : app. 800m2 3. The following design works with producing bills of quantities shall be undertaken by Sub-consultan t, but not limited to : -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. -. MEP (Mechanical, Electrical and Plumbing works in building construction) -. IT and FF (Fire Fighting)
WP 2-1 | Onshore Substation(154kV or 220kV) at Juk-Do | Local | Local | Local | Local | Local | 1. GFA of each building such as mail building, control building and warehouse shall be conformed to local rules and regulations or KEPCO guidelines or pracitce. 2. However, the following GFA of buildings can be referred if sub-consultant does not have any reference. -. Land area : app. 25,000 m2 -. GFA of Main building : app. 2,500m2 -. GFA of Control building : app. 1,500m2 -. GFA of Warehouse : app. 1,000m2 3. Min. 10 parking lots. 4. The following works shall be included in civil design, but not limited to : -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. 5. All bills of quantities shall be prepared. 6. Exception works -. All equipments including transformer will be designed by Arup
WP 2-2 | Switch Station(154kV) on LP 5 (Inland) | Local | Local | Local | Local | Local | 1. GFA of each building such as mail building, control building and warehouse shall be conformed to local rules and regulations or KEPCO guidelines and practice. 2. The following works shall be included in civil design, but not limited to : -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. 3. All bills of quantities shall be prepared. 4. Exception works -. All equipments including transformer will be designed by Arup
WP 3-1 | O&M Port on Juk-Do | N/A | N/A | Arup | N/A | Local | 1. The following design works will be done by Arup - .Dredging (minimum depth 3m), -. Pontoon/jetty, crane, shore crane, -. Fuel/Fresh water bunkering, -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. 2. Producing bills of quqntities above works shall be prepared by Sub-consulatant.
WP 3-2 | O&M Port on LP 5 | N/A | N/A | Arup | N/A | Local | 1. The following design works will be done by Arup - .Dredging (minimum depth 3m), -. Pontoon/jetty, crane, shore crane, -. Fuel/Fresh water bunkering, -. Site formation works, -. Foundations, -. Drainage, -. Roads and roads connections, -. Power and water supplies, lighting, fencing, security. 2. Producing bills of quantities above works shall be prepared by Sub-consulatant.
WP 5-1 | Civil Works for Cable Overpassing on Song-Yi Island | N/A | N/A | Local | N/A | Local | Please refer to request for quotation via email
WP 5-2 | Civil works for Cable Laying between LP5 and West Younggwang #2 Station | N/A | N/A | Local | N/A | Local | Please refer to request for quotation via email
WP 6-1 | Consultanting Services Work for All Electrical Design Works including WP 5-1 and 5-2 | N/A | N/A | N/A | N/A | Local | Please refer to request for quotation via email
※ GENERAL CONDITIONS
1. All works related to permission and approval shall be excluded from this quotation.
2. The cost estimation relevant all bills of quantities shall not be included in this quotation
3. Comm: communication

## PRICES
REQUEST FOR QUOTATION
■ Project : Anma-do 528MW Offshore Wind Farm Project
WORK PACKAGE | PROPERTIES | PRICE (Exclusive of VAT), KRW 부가세 제외 금액 KRW | REMARK
WP 1-1 | O&M Building & Warehouse on Juk-Do |  | FEED Design (Civil, MEP+Comm+Fire) and BOM
WP 1-2 | O&M Building & Warehouse on LP 5 |  | FEED Design (Civil, MEP+Comm+Fire) and BOM
WP 2-1 | Onshore Substation(154kV or 220kV) at Juk-Do |  | FEED for every scope and BOM Main equipment such as TR will be design by Arup
WP 2-2 | Switch Station(154kV) on LP 5 (Inland) |  | FEED for every scope and BOM Main equipment such as TR will be design by Arup
WP 3-1 | O&M Port on Juk-Do |  | BOM Only
WP 3-2 | O&M Port on LP 5 |  | BOM Only
WP 5-1 | Civil Works for Cable Overpassing on Song-Yi Island |  | Civil Design and BOM only
WP 5-2 | Civil works for Cable Laying between LP5 and West Younggwang #2 Station |  | Civil Design and BOM only
WP 6-1 | Consultanting Services Work for All Electrical Design Works including WP 5-1 and 5-2 |  | Includes Consultation and BOM of all elec related scope
※ GENERAL CONDITIONS
1. All works related to permission and approval shall be excluded from this quotation.
2. The cost estimation relevant all bills of quantities shall not be included in this quotation
3. Comm: communication