## BOQ
BOQ
Full Code |  |  | Code | Gauge Code | WBS Name | Description |  | Unit | Total
[6 empty] | Brief Spec. | Reference to |  |  | Gas Turbine Building | Gas Turbine Foundation Unit1 | Gas Turbine Foundation Unit2 | Steam Turbine Building | Steam Turbine Foundation | Pipe Rack Inside Steam Turbine Building | HRSG Building | HRSG Foundation Unit1 | HRSG Foundation Unit2 | Control & Electrical and Administration Building | Compressor Air Package Building | Gate House | Water Treatment Building | Chemical Dosing Shelter for Cooling Tower | Chemical Dosing Shelter for HRSG | UREA Storage & Unloading Shelter | N2 Gas Storage Shelter | Chemical Storage Shelter
Standard Building Code | [9 empty] | M241 | M323 | M323 | M241 | M323 | M331 | M321 | M323 | M323 | M201 | M231 | M121 | M291 | M172 | M172 | M172 | M331 | M291
PACBB / EARTH WORKS
PACBBA00 / EXCAVATION
|  | PACBBA00 | 0010 |  | EXCAVATION | COMMON SOIL | B-01 | M3 | 5710.28 | 813.73 |  |  | 1457.7 | 492.8 |  | 93.73 | 487.85 | 487.85 | 630.36 | 129.31 | 24.34 | 781.2 | 52.68 | 32.85 | 117.54 | 23.02 | 85.32
|  | PACBBA00 | 0020 |  | EXCAVATION | BELOW 2M DEPTH | B-01 | M3 | 1136.05 | 313.92 | 374.22 | 374.22 | 56.83 | [11 empty] | 16.86
PACBBB00 / BACKFILLING
|  | PACBBB00 | 0010 | A | BACKFILL (GENERAL FILL) | SELECTED EXCAVATED SOIL | B-02 | M3 | 653.94 | 131.22 | 36.59 | 36.59 | 89.87 | 35.82 |  | 14.82 | 54.31 | 54.31 | 52.2 | 18.27 | 3.31 | 59.03 | 10.34 | 6.21 | 22.31 | 5.94 | 22.8
PACBBD00 / DISPOSAL
|  | PACBBD00 | 0010 | B | DISPOSAL | 부지내부사토 | B-04 | M3 | 7339.47 | 1195.73 | 405.16 | 405.16 | 1709.6 | 456.98 |  | 94.69 | 520.24 | 520.24 | 693.8 | 133.25 | 25.23 | 866.6 | 50.81 | 31.97 | 134.49 | 20.5 | 75.02
PACBBG00 / PE SHEET (VAPOR BARRIER)
|  | PACBBG00 | 0010 |  | PE SHEET (VAPOR BARRIER) | THK. 0.15mm, 2 LAYERS | H-17 | M2 | 9914.89 | 1919.95 | 166.32 | 166.32 | 2529 | 282.96 |  | 180.09 | 562.28 | 562.28 | 1190 | 232.16 | 54.76 | 1532.29 | 105.68 | 62.92 | 222.24 | 51.84 | 93.8
PACBBI00 / PILES
|  | PACBBI00 | 0030 | A | PHC PILE (D400) | INCLUDING PRE-BORING | Q-02 | M | 7040 | 4720 | [9 empty] | 800 | 200 |  | 200 | 200 | 520 | 160 | 240
|  | PACBBI00 | 0030 | B | PHC PILE (D500) | INCLUDING PRE-BORING | Q-03 | M | 12800 |  |  |  | 5920 | [5 empty] | 4000 |  |  | 2880
|  | PACBBI00 | 0030 | C | PHC PILE (D600) | INCLUDING PRE-BORING | Q-04 | M | 10560 |  | 1600 | 1600 |  | 2400 |  | 720 | 2120 | 2120
PACBC / CONCRETE WORKS
PACBCA00 / CONCRETE
|  | PACBCA00 | 0010 | B | LEAN CONCRETE | [UG] F'C = 18 MPA, W/CONSTRUCTION JOINT | C-01 | M3 | 841.96 | 192 | 16.63 | 16.63 | 197.73 | 28.3 |  | 18.01 | 56.23 | 56.23 | 82.26 | 18.28 | 5.48 | 113.34 | 6.94 | 4.84 | 16.68 | 3 | 9.38
|  | PACBCA00 | 0040 | A | CONCRETE | [AG] F'C = 24 MPA, W/CONSTRUCTION JOINT | C-05 | M3 | 2250.14 | 248.02 |  |  | 416.97 |  |  | 34.47 |  |  | 621.34 | 106.44 | 17.02 | 772.96 | 7.06 | 5.31 | 9.35 | 0.75 | 10.45
|  | PACBCA00 | 0040 | B | CONCRETE | [UG] F'C = 24 MPA, W/CONSTRUCTION JOINT | C-06 | M3 | 4568.79 | 902.77 |  |  | 1004.02 |  |  | 95.07 | 549.3 | 549.3 | 495.9 | 111.47 | 25.92 | 561.69 | 48.6 | 30.92 | 122.55 | 18.15 | 53.13
|  | PACBCA00 | 0050 | A | CONCRETE (FOR MAJOR EQUIPMENT FDN) | [AG] F'C = 30 MPA, W/CONSTRUCTION JOINT (for TG) | C-07 | M3 | 420 |  |  |  |  | 420
|  | PACBCA00 | 0050 | B | CONCRETE (FOR MAJOR EQUIPMENT FDN) | [UG] F'C = 30 MPA, W/CONSTRUCTION JOINT (for TG, HRSG) | C-08 | M3 | 1457.4 |  | 398.7 | 398.7 |  | 660
|  | PACBCA00 | 0060 | C | TEMPERATURE CONTROL MONITORING | FOR MASS CONCRETE | C-09 | L/S | 5 |  | 1 | 1 |  | 1 |  |  | 1 | 1
PACBCB00 / FORM WORKS
|  | PACBCB00 | 0010 |  | FORM WORKS(Fair faced form) | 1 TIMES, FAIR FACE FOR ABOVE GROUND | C-12 | M2 | 7078.28 | 589.6 |  |  | 434.52 |  |  | 347.52 |  |  | 324.8 | 777.45 | 168.72 | 4310.59 | 18.6 | 15.12 | 75 | 2.6 | 13.76
|  | PACBCB00 | 0020 |  | FORM WORKS(Normal faced form) | 3 TIMES, GENERAL FOR UNDERGROUND | C-13 | M2 | 2525.28 | 735.72 |  |  | 588.7 |  |  | 59.2 | 144.47 | 144.47 | 165 | 94.96 | 14.4 | 327.48 | 38.4 | 23.82 | 90.4 | 21.6 | 76.66
|  | PACBCB00 | 0030 | B | SYSTEM FORM | FOR STEAM TURBINE GENERATOR FOUNATION TOP TABLE | C-14 | M2 | 1382.3 |  | 259.15 | 259.15 |  | 864
PACBCC00 / REINFORCEMENT
|  | PACBCC00 | 0010 | A | REINFORCEMENT | HIGH YIELD DEFORMED BAR WORK (BLACK DEFORMED BARS) | C-11 | TON | 941.36 | 120.6 | 47.84 | 47.84 | 155.66 | 129.6 |  | 13.68 | 60.43 | 60.43 | 95.6 | 23.52 | 4.64 | 149.1 | 5.95 | 3.89 | 14.24 | 2 | 6.34
PACBCE00 / JOINTS
|  | PACBCE00 | 0050 |  | ISOLATION JOINT (SEPARATION JOINT) | FOR SLAB+TIE GIRDER, | O-04 | M | 248 | 98 |  |  | 85.4 | [8 empty] | 64.6
|  | PACBCE00 | 0060 |  | ISOLATION JOINT (SEPARATION JOINT) | FOR EQUIPMENT FOUNDATION | O-01 | M | 291 | 116 |  |  | 75 |  |  | 100
|  | PACBCE00 | 0070 |  | CONTROL JOINT |  |  | M | 1051.4 | 571 |  |  | 228 | [5 empty] | 126 |  | 32 | 94.4
PACBCF00 / BITUMINOUS COATING
|  | PACBCF00 | 0010 |  | BITUMINOUS COATING | FOR UNDERGROUND CONCRETE PROTECTION | H-11 | M2 | 9089.21 | 2089.07 | 144.5 | 144.5 | 1892.32 | 473 |  | 191.09 | 643.6 | 643.6 | 923.4 | 204.24 | 23.04 | 1119.46 | 109.2 | 56.56 | 197.45 | 71.1 | 163.08
PACBCH00 / WATER STOP
|  | PACBCH00 | 0010 |  | WATER STOP | PVC WATERSTOP | H-12 | M | 245 | 98 |  |  | 83 | [8 empty] | 64
PACBCJ00 / PRECAST CONCRETE
|  | PACBCJ00 | 0010 | C | PRECAST CONCRETE (THK.250) | FOR MISC PART SUCH AS PIT COVER, EQUIPEMENT PAD, ETC | C-20 | M2 | 184 | 184
PACBD / BLOCK WORKS
PACBDF00 / BRICK
|  | PACBDF00 | 0020 | A | BRICK(T=115) | [0.5B] CEMENT BRICK W/LINTEL FOR OPENING | E-02 | M2 | 2133 | 253.8 |  |  | 156 |  |  | 144 |  |  | 117.6 | 279.3 | 91.2 | 1091.1
|  | PACBDF00 | 0020 | B | BRICK(T=230) | [1.0B] CEMENT BRICK W/LINTEL FOR OPENING | E-03 | M2 | 1056.7 | [9 empty] | 259.3 |  | 105.9 | 691.5
PACBDG00 / INSULATION
|  | PACBDG00 | 0010 |  | INSULATION | ONLY FOR BRICK WALL INSULATION(THK.100) | E-01 | M2 | 1932.5 | 169.2 |  |  | 156 |  |  | 144 |  |  | 93.6 | 279.3 | 74.4 | 1016
PACBE / PAINTING WORKS
PACBEA00 / ACRYLIC EMULSION PAINT (AEP)
|  | PACBEA00 | 0010 |  | ACRYLIC EMULSION PAINT (AEP) | EXTERNAL WALL | G-03 | M2 | 570 | 169.2 |  |  | 156 |  |  | 144 |  |  |  |  | 100.8
|  | PACBEA00 | 0020 |  | ACRYLIC EMULSION PAINT (AEP) | INTERNAL WALL | G-02 | M2 | 7299.65 | 169.92 |  |  | 226.5 |  |  | 148.68 |  |  | 5671.65 | 299.3 | 85.8 | 697.8
|  | PACBEA00 | 0030 |  | ACRYLIC EMULSION PAINT (AEP) | CEILING | G-02 | M2 | 1789 | [9 empty] | 1532.5 | 94.5 |  | 162
PACBEB00 / EPOXY PAINT
|  | PACBEB00 | 0040 |  | EPOXY PAINT | FLOOR | G-07 | M2 | 4794.96 | 1120.46 |  |  | 1560 |  |  | 658 |  |  | 1216 | 94.5 |  | 126 |  |  |  | 20
|  | PACBEB00 | ZZZZ |  | EPOXY PAINT | SKIRT, H=100MM | G-11 | M | 829 |  |  |  | 215 |  |  | 204.4 |  |  | 314.6 | 41 |  | 54
PACBEC00 / ACID RESISTANT PAINT
|  | PACBEC00 | 0020 |  | ACID RESISTANT PAINT | FLOOR | G-12 | M2 | 58.5 | [9 empty] | 58.5
|  | PACBEC00 | 0030 |  | ACID RESISTANT PAINT | INTERNAL WALL | G-13 | M2 | 114.7 | [9 empty] | 114.7
|  | PACBEC00 | 0040 |  | ACID RESISTANT PAINT | CEILING | G-13 | M2 | 58.5 | [9 empty] | 58.5
|  | PACBEC00 | 0050 | A | ACID RESISTANT PAINT | SKIRT, H=100MM |  | M | 27.6 | [9 empty] | 27.6
|  | PACBEC00 | 0050 | B | CHEMICAL RESISTANT PAINT | FLOOR | G-14 | M2 | 1187.04 | [12 empty] | 909 | 50 | 32.68 | 132 |  | 63.36
|  | PACBEC00 | 0050 | C | CHEMICAL RESISTANT PAINT | INTERNAL WALL | G-15 | M2 | 2036.54 | [12 empty] | 1815.1 | 24 | 19.44 | 145 |  | 33
PACBEE00 / ANTI-DUST PAINT
|  | PACBEE00 | 0010 |  | ANTI-DUST PAINT | FLOOR | G-08 | M2 | 625 | [9 empty] | 571 |  |  | 54
PACBF / TILE WORKS
PACBFB00 / GLAZED CERAMIC TILE
|  | PACBFB00 | 0020 |  | GLAZED CERAMIC TILE | WALL W/ BEDDING, WIREMESH IF NECESSARY | I-13 | M2 | 568.7 | [9 empty] | 465.8 |  | 39.9 | 63
PACBFC00 / NON-SLIP CERAMIC TILE
|  | PACBFC00 | 0010 |  | NON-SLIP CERAMIC TILE | FLOOR W/ BEDDING, WIREMESH IF NECESSARY | I-12 | M2 | 264.6 | [9 empty] | 207.6 |  | 9 | 48
|  | PACBFC00 | 0020 |  | NON-SLIP CERAMIC TILE | SKIRTS, H= MM. W/ BEDDING, WIREMESH IF NECESSARY |  | M | 111 | [9 empty] | 77 |  |  | 34
PACBFD00 / HEAVY DUTY PVC TILE
|  | PACBFD00 | 0010 |  | HEAVY DUTY PVC TILE | FLOOR W/ BEDDING, WIREMESH IF NECESSARY | I-06 | M2 | 809.5 | [9 empty] | 764.5 |  | 27 | 18
|  | PACBFD00 | 0020 |  | HEAVY DUTY PVC TILE | SKIRTS W/ BEDDING, WIREMESH IF NECESSARY | I-07 | M | 522.4 | [9 empty] | 478.4 |  | 26 | 18
PACBFS00 / BITUMENOUS DAMPPROOFING
|  | PACBFS00 | 0010 | B | DAMP-PROOF COURSE | For masonry work | E-20 | M2 | 127.5 | [10 empty] | 20.5 | 12 | 95
PACBG / WATERPROOFING WORKS
PACBGA00 / LIQUID WATERPROOFING
|  | PACBGA00 | 0010 |  | LIQUID WATERPROOFING | INTERNAL FLOOR AREA | H-06 | M2 | 132.6 | [9 empty] | 111.6 |  | 9 | 12
|  | PACBGA00 | 0020 |  | LIQUID WATERPROOFING | INTERNAL WALL AREA | H-06 | M2 | 116.82 | [9 empty] | 87.72 |  | 12.3 | 16.8
PACBH / ROOF WORKS
PACBHA00 / LIGHT-WEIGHT CONCRETE SCREED
|  | PACBHA00 | 0010 | A | LIGHT-WEIGHT CONCRETE SCREED | W/ TROWELING, WITHOUT WIREMESH (for SLOPE, 1/100) | H-08 | M3 | 229.16 | 67.23 | [8 empty] | 68.04 | 6.43 | 1.96 | 85.5
|  | PACBHA00 | 0010 | B | PROTECTIVE CONCRETE | W/ TROWELING, Min.60mm |  | M3 | 172.5 | 67.23 | [8 empty] | 45.36 | 5.67 | 2.94 | 51.3
PACBHC00 / WATERPROOFING MEMBRANE
|  | PACBHC00 | 0010 | A | WATERPROOFING MEMBRANE | FOR ROOF AREA ONLY | H-02 | M2 | 3162.08 | 1205.06 | [8 empty] | 816 | 120.54 | 63 | 957.48
PACBHD00 / INSULATION
|  | PACBHD00 | 0010 |  | RIGID INSULATION FOR ROOF | THK. 200mm Rigid Extruded Polystyrene Insulation | H-01 | M2 | 2874.96 | 1120.46 | [8 empty] | 756 | 94.5 | 49 | 855
PACBHE00 / PE SHEET (VAPOR BARRIER)
|  | PACBHE00 | 0010 |  | PE SHEET (VAPOR BARRIER) |  | H-17 | M2 | 2874.96 | 1120.46 | [8 empty] | 756 | 94.5 | 49 | 855
PACBHF00 / WIRE MESH
|  | PACBHF00 | 0010 |  | WIRE MESH | ONLY FOR WIRE MESH |  | M2 | 2874.96 | 1120.46 | [8 empty] | 756 | 94.5 | 49 | 855
PACBI / DOOR & WINDOW WORKS
PACBIA00 / STEEL DOOR
|  | PACBIA00 | 0010 | A | NORMAL STEEL DOOR (1.0 x2.1) | SINGLE DOOR W/HARDWARE | L-03 | EA | 44 | 4 |  |  | 3 |  |  | 4 |  |  | 24 | 1 | 3 | 5
|  | PACBIA00 | 0020 | A | NORMAL STEEL DOOR (2.0x 2.1) | DOUBLE DOOR W/HARDWARE | L-03 | EA | 5 | 1 | [8 empty] | 3 |  |  | 1
|  | PACBIA00 | 0020 | D | NORMAL STEEL DOOR (2.4 x 3.0) | DOUBLE DOOR W/HARDWARE | L-03 | EA | 6 | [9 empty] | 5 |  |  | 1
PACBIH00 / FIRE RESISTANT DOOR
|  | PACBIH00 | 0070 |  | FIRE RESIST. STEEL DOOR W/90 MIN (1.0 x 2.1) | SINGLE DOOR W/HARDWARE | L-02 | EA | 7 | [9 empty] | 7
|  | PACBIH00 | 0080 |  | FIRE RESIST. STEEL DOOR W/90 MIN (2.0 x 2.1) | DOUBLE DOOR W/HARDWARE | L-02 | EA | 5 | [9 empty] | 5
PACBIO00 / SHUTTER
|  | PACBIO00 | 0010 | B | SHUTTER (6.0 x 6.0) | W/HARDWARE | L-04 | EA | 2 |  |  |  | 1 |  |  | 1
|  | PACBIO00 | 0010 | C | SHUTTER (4.0 x 5.0) | W/HARDWARE | L-04 | EA | 4 | 2 | [9 empty] | 1 |  | 1
PACBIP00 / WINDOW
|  | PACBIP00 | 0010 | A | ALUMINUM WINDOW (1.2 x 1.2) | W/HARDWARE | M-01 | EA | 3 | [10 empty] | 3
|  | PACBIP00 | 0010 | B | ALUMINUM WINDOW (1.8 x 1.2) | W/HARDWARE | M-01 | EA | 29 | [9 empty] | 16 |  | 5 | 8
|  | PACBIP00 | 0010 | F | ALUMINUM WINDOW (3.6 x 1.2) | W/HARDWARE | M-01 | EA | 53 | 10 |  |  | 24 |  |  | 10 |  |  | 9
PACBIQ00 / LOUVER
|  | PACBIQ00 | 0010 | A | ALUMINUM LOUVER | 1400x1000 | M-07 | EA | 52 | 15 |  |  | 22 |  |  | 15
|  | PACBIQ00 | 0010 | B | ALUMINUM LOUVER | 900x600 | M-07 | EA | 7 | [9 empty] | 3 |  |  | 4
|  | PACBIQ00 | 0010 | C | ALUMINUM LOUVER | 600x400 | M-07 | EA | 5 | [9 empty] | 4 |  |  | 1
|  | PACBIQ00 | 0010 | D | ALUMINUM LOUVER | 400x300 | M-07 | EA | 4 | [9 empty] | 3 |  |  | 1
PACBIT00 / MASTER KEY SYSTEM
|  | PACBIT00 | 0010 |  | MASTER KEY SYSTEM |  | L-11 | SET | 1 | [9 empty] | 1
PACBJ / EXTERIOR/INTERIOR FINISH WORKS
PACBJB00 / WALL INTERIOR SYSTEM
|  | PACBJB00 | 0010 |  | GYPSUM BOARD | WALL (one side) | J-07 | M2 | 2441.1 | [9 empty] | 2441.1
|  | PACBJB00 | 0020 | A | GYPSUM BOARD | WALL, (both side) | J-06 | M2 | 856.75 | [9 empty] | 856.75
|  | PACBJB00 | 0030 |  | GYPSUM BOARD | WALL, 2HR FIRE-RATING. | J-08 | M2 | 887.2 | [9 empty] | 887.2
PACBJC00 / CEILING
|  | PACBJC00 | 0010 |  | SUSPENDED ACOUSTIC CEILING SYSTEM | 600x600xTHK.15mm, NON COMBUSTIBLE | J-01 | M2 | 1344.5 | [9 empty] | 1245.5 |  | 27 | 72
|  | PACBJC00 | 0070 | B | PVC STRIP CEILING | FOR TOILET & SHOWER ROOM | J-03 | M2 | 132.6 | [9 empty] | 111.6 |  | 9 | 12
PACBJD00 / PLASTER
|  | PACBJD00 | 0010 |  | EXTERNAL PLASTER | WALL | F-02 | M2 | 428.9 | [11 empty] | 43.4 | 385.5
|  | PACBJD00 | 0020 |  | INTERNAL PLASTER | WALL | F-03 | M2 | 8423.95 | 169.92 |  |  | 226.5 |  |  | 148.68 |  |  | 6126.15 |  | 85.8 | 1666.9
PACBJE00 / FREE ACCESS FLOORS (RAISED FLOOR)
|  | PACBJE00 | 0010 |  | RAISED FLOOR W/ VINYL TILE | 600 x 600 H:600 | I-09 | M2 | 625 | [9 empty] | 571 |  |  | 54
PACBJG00 / CORRUGATED METAL SHEET
|  | PACBJG00 | 0030 |  | GALVANIZED STEEL SHEET W/FLASHING IF NECESSORY | WALL | K-05 | M2 | 150.2 | [13 empty] | 30 | 23.8 | 46 | 18 | 32.4
|  | PACBJG00 | 0040 |  | GALVANIZED STEEL SHEET W/FLASHING IF NECESSORY | ROOF | K-04 | M2 | 378.14 | [13 empty] | 66 | 45.58 | 156 | 30 | 80.56
PACBJH00 / SANDWICH PANEL
|  | PACBJH00 | 0010 | A | SANDWICH PANEL W/FLASHING IF NECESSORY | WALL | K-02 | M2 | 8334.9 |  |  |  | 2448 |  |  | 4025.4 |  |  | 1861.5
|  | PACBJH00 | 0010 | B | SANDWICH PANEL W/FLASHING IF NECESSORY | WALL, 2HOUR FIRE RATING | K-03 | M2 | 2505.6 | 1528.8 | [8 empty] | 976.8
|  | PACBJH00 | 0020 |  | SANDWICH PANEL W/FLASHING IF NECESSORY | ROOF | K-01 | M2 | 2686 |  |  |  | 1736 |  |  | 950
PACBJI00 / GUTTER
|  | PACBJI00 | 0010 |  | GUTTER | EAVE GUTTER. | K-08 | M | 338.8 | 95 |  |  | 124 |  |  | 49 | [6 empty] | 11 | 8.6 | 24 | 6 | 21.2
|  | PACBJI00 | 0020 |  | GUTTER | VALLEY GUTTER. |  | M | 49 | [6 empty] | 49
PACBJJ00 / PARTITION
|  | PACBJJ00 | 0010 |  | CUBICLE PARTITION | FOR TOILET, | J-10 | M2 | 90.2 | [9 empty] | 78.2 |  |  | 12
PACBJM00 / STEEL TROWEL FINISH
|  | PACBJM00 | 0010 |  | STEEL TROWEL FINISH | FOR CONCRETE SURFACE | F-05 | M2 | 4882.56 | 861.52 | [5 empty] | 658 |  |  | 1845.5 | 94.5 |  | 1125 | 50 | 32.68 | 132 | 20 | 63.36
|  | PACBJM00 | 0040 |  | SURFACE HARDENER | HEAVY DUTY FLOOR CHEMICAL SURFACE HARDENER ANTI-DUST FINISH | G-20 | M2 | 2023.39 | 258.94 |  |  | 1560 |  |  | 204.45
PACBK / STEEL WORKS
PACBKA00 / STEEL
|  | PACBKA00 | 0010 | B | STEEL(KS D 3530 SSC275) | (FOR PURLIN & GIRTH) | D-01 | TON | 150.68 | 19.67 |  |  | 46.42 |  |  | 60.47 |  |  | 19.4 |  |  |  | 0.85 | 0.57 | 1.85 | 0.4 | 1.05
|  | PACBKA00 | 0010 | C | STEEL(KS D 3866 SHN355) | (INDOOR STEEL / BUILT-UP MEMBER) | D-05 | TON | 31.4 |  |  |  | 31.4
|  | PACBKA00 | 0020 | A | STEEL(KS D 3866 SHN355) | (INDOOR STEEL / ROLL MEMBER) | D-04 | TON | 1450.06 | 212.15 |  |  | 338.36 |  | 118 | 423.27 |  |  | 358.28
|  | PACBKA00 | 0020 | B | STEEL(KS D 3866 SHN355) | (OUTDOOR STEEL / ROLL MEMBER) | D-06 | TON | 27.53 | [13 empty] | 4.7 | 4.08 | 10.72 | 3.19 | 4.84
PACBKE00 / ANCHOR BOLT
|  | PACBKE00 | 0030 |  | ANCHOR BOLT | DIA 24MM, L=800 | D-07 | EA | 462 | [5 empty] | 362 | [7 empty] | 16 | 16 | 36 | 16 | 16
|  | PACBKE00 | 0070 |  | ANCHOR BOLT | DIA 36MM, L=1100 | D-07 | EA | 1644 | 400 |  |  | 489 |  |  | 330 |  |  | 425
PACBKF00 / HANDRAIL
|  | PACBKF00 | 0010 | A | STEEL HANDRAIL | W/ PAINT (OR) HOT DIP GALVANIZED. | N-08 | M | 1115.3 | 357.1 |  |  | 357 |  |  | 401.2
PACBKG00 / STEEL PAINTING
|  | PACBKG00 | AAAA |  | STEEL PAINTING | FOR-FIRE-PROOFED, PAINT TYPE (2HOUR) | D-12 | M2 | 6632.03 | [9 empty] | 6632.03
PACBKH00 / LADDER
|  | PACBKH00 | 0010 | A | CAGED LADDER(2.5m < H ≤ 10m) | W/ PAINT (OR) HOT DIP GALVANIZED. | N-13 | M | 46.3 | [10 empty] | 7.3 | 3.5 | 10.5 | 4 | 4 | 8 | 4 | 5
|  | PACBKH00 | 0010 | B | CAGED LADDER(10.0m < H) | W/ PAINT (OR) HOT DIP GALVANIZED. | N-14 | M | 146.3 | 22.8 |  |  | 36 |  |  | 45.5 |  |  | 42
PACBKI00 / GRATING
|  | PACBKI00 | 0020 |  | GRATING | THK.>=32MM, GALVANIZED | N-03 | M2 | 739.43 | 221 |  |  | 335.7 |  |  | 158.1 |  |  | 2.25 |  |  | 18 | 2.7 | 1.68
PACBKK00 / CHECKERED PLATE
|  | PACBKK00 | 0010 |  | CHECKERED PLATE | GALVANIZED, | N-04 | M2 | 52 | [10 empty] | 15 |  | 37
PACBKL00 / DECK PLATE
|  | PACBKL00 | 0010 |  | DECK PLATE | GALVANIZED. | D-09 | M2 | 4144.46 | 1120.46 | [8 empty] | 3024
PACBKM00 / GROUTING
|  | PACBKM00 | 0010 |  | GROUTING | NON-SHRINK CEMENT BASED GROUT. | D-08 | M3 | 8.15 | 0.85 |  |  | 3.06 |  | 0.3 | 1.2 |  |  | 2.67 |  |  |  | 0.01 | 0.01 | 0.02 | 0.01 | 0.02
PACBL / MISC. WORKS
PACBLA00 / ROOF DRAIN
|  | PACBLA00 | 0010 | A | ROOF DRAIN (Φ100 / CAST IRON) | FOR BUILDING | K-15 | EA | 6 | [10 empty] | 4 | 2
|  | PACBLA00 | 0010 | B | ROOF DRAIN (Φ150 / CAST IRON) | FOR BUILDING | K-16 | EA | 50 | 10 |  |  | 16 | [5 empty] | 10 |  |  | 14
PACBLB00 / DOWNSPOUT
|  | PACBLB00 | 0010 | A | DOWNSPOUT(Φ100 / GALV. STL) | FOR BUILDING, GALV. STEEL. | K-19 | M | 112.2 | [10 empty] | 29.2 | 7 |  | 8 | 8 | 32 | 8 | 20
|  | PACBLB00 | 0010 | B | DOWNSPOUT(Φ150 / GALV. STL) | FOR BUILDING, GALV. STEEL. | K-20 | M | 1153 | 114 |  |  | 288 |  |  | 430 |  |  | 210 |  |  | 111
|  | PACBLB00 | 0040 |  | WATER COLLECTION BOX | GALV. STEEL DOWN SPOUT HEAD | K-23 | EA | 88 | 10 |  |  | 16 |  |  | 20 |  |  | 10 | 4 |  | 14 | 2 | 2 | 4 | 2 | 4
PACBLD00 / FENCE
|  | PACBLD00 | 0010 |  | CHAINLINK FENCE |  | P-03 | M | 103 | [15 empty] | 50 | 20 | 33
|  | PACBLD00 | 0040 |  | CHAINLINK GATE |  | P-04 | EA | 3 | [15 empty] | 1 | 1 | 1
PACBLE00 / STEEL BOLLARD
|  | PACBLE00 | 0010 |  | STEEL BOLLARD | GUARD POST, CONCRETE FILL. | N-15 | EA | 16 | 4 |  |  | 2 |  |  | 2 |  |  |  | 2 |  | 2 |  |  |  | 2 | 2
PACBLF00 / SIGNAGE
|  | PACBLF00 | 0010 |  | BUILDING SIGNAGE |  |  | EA | 12 | 1 |  |  | 1 |  |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PACBLF00 | 0020 |  | ROOM SIGNAGE |  |  | EA | 35 | [9 empty] | 28 |  | 3 | 4
PACBLI00 / SANITARY FIXTURES
|  | PACBLI00 | AAAA | D | VANITY TOP | L=750MM (1 BOWL) | O-17 | EA | 3 | [9 empty] | 2 |  |  | 1
|  | PACBLI00 | AAAA | E | VANITY TOP | L=1500MM (2 BOWL) | O-18 | EA | 2 | [9 empty] | 2
PACBLJ00 / MISC STEEL
|  | PACBLJ00 | 0010 | A | MISC STEEL | GALVANIZED. | N-01 | TON | 10.21 | 1.59 |  |  | 3 |  |  | 3 |  |  | 1.2 | 0.37 |  | 0.7 | 0.2 | 0.15
|  | PACBLJ00 | 0010 | B | STEEL FORM | FOR CEP | N-18 | EA | 2 |  |  |  | 2

## Standard Building
Building Full Code | Name
M331 | Misc. BD / Shelter (outside of the other building classification)
M322 | Finishing BD
M324 | Equip. Foundation (for PKG BD Incl. Substation, Instrument, Guard House, Operator BD)
M323 | Equip. Foundation
M321 | Equip. Structure
M311 | Misc. PKG. Shelter(Boiler. Chemical Injection)
M301 | Waste Water Treat. PKG. BD./Shelter
M291 | Water Treat. PKG. BD./Shelter(RO. Demi. BD)
M281 | Bagging BD.(Warehouse 복합건축물),
M271 | Extruder BD./Shelter, Finishing Building
M261 | Pump Shelter
M251 | Air Comp. Shelter (PA/IA)
M241 | (Frame Type) Compressor Shelter, Generator/Turbine BD./Shelter)
M231 | (Block Type) Compressor Shelter, Generator/Turbine BD./Shelter)
M211 | Substation
M201 | Control Building
M202 | Instrument Building(PIB, SRR, etc.)
M181 | Misc. Shelter(Car Parking등)
M171 | Spare Part Warehouse
M172 | Chemical Storage Warehouse
M161 | Workshop
M151 | Fire Station, Fire and Emergency Station
M141 | Accomodation(Dormitory. etc.), Living Quarters
M131 | Laboratory
M121 | Gate House (or Guard House, Police Station)
M123 | Watch Tower
M122 | Security BD (or Training Center)
M112 | Operator BD
M111 | Admin BD., Office BD.
M101 | Canteen (Kitchen, Dinning Room etc.)
M105 | Sports Complex (or Recreation BD)
M103 | Medical Building(Clinic)
M102 | Mosque
M106 | Mobile Equipment Garage
M107 | Changing BD
M104 | Laundry