## Building List(Rev.0)
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1 | [8 empty] | BUILDING LIST
2 | [8 empty] | [UAE FFF] | [7 empty] | Rev.0 | 2022.08.09
3 | NO. | Plot Plan NO. | Building Name | Structure | Q'ty | Story | Floor | Room NO. | Room Name | Width (m) | Length (m) | Height (m) | C.H (m) | Building Area (m2) | Floor Total Area (m2) | Volume (m3) | Lifting Facility | Remark
4 | 1 |  | Main FF Building | RC | 1 | 3 |  |  |  | 58 | 125 | 16 |  | 7250 | 17028 | 46420
5 |  |  | * 방사능 관리구역 : Z3, Z4 |  |  |  | Basement FL |  |  | 11 | 68 | -5 |  | 584 | 584 | 2920 |  | 지하 축소 Plot Plan Rev.E(22.08.05)
17 |  |  |  | RA-Z3 |  |  | BF | U1001 | Liquid Waste Water Treatment Room | 11 | 12 | -5 |  |  | 96
15 |  |  |  | RA-Z1 |  |  | BF | U1002 | Cooling Water System Area | 6 | 50 | -5 |  |  | 330
16 |  |  |  | RA-Z3 |  |  | BF | U1003 | FF Waste Collection Tank | 6 | 6 | -5 |  |  | 36 |  |  | Fire Water Pump Building 분리 - 소방 확인
65 |  |  |  | RA-Z3 |  |  | BF | U1004 | Corridor | 3 | 6 | -5 |  |  | 18
19 |  |  |  | RA-Z3 |  |  | BF | U1005 | Stair #4 | 3 | 6 | -5 |  |  | 18
21 |  |  |  | RA-Z1 |  |  | BF | U1006 | Elevator #4 | 4 | 5 | -5 |  |  | 20 |  |  | KNF 화물용 추가
20 |  |  |  | RA-Z1 |  |  | BF | U1007 | Shaft | 2 | 5 | -5 |  |  | 10
22 |  |  |  | RA-Z1 |  |  | BF | U1008 | Stair #3 | 3.5 | 7 | -5 |  |  | 24.5
21 |  |  |  | RA-Z1 |  |  | BF | U1009 | Elevator #3 | 4 | 4.5 | -5 |  |  | 18 |  | 2.5 Ton | Main Lobby(장애인겸용)
20 |  |  |  | RA-Z1 |  |  | BF | U1010 | Shaft | 3 | 4.5 | -5 |  |  | 13.5
20 |  |  |  | RA-Z1 |  |  | BF | U1011 | Equipment Laydown | 3 | 3 | -5 |  |  | 9 |  |  | 장비반입 Shutter
23
24 | [6 empty] | Ground FL |  |  | 58 | 125 | 6 |  | 7250 | 7772 | 43500
65 |  |  |  | RA-Z3 |  |  | GF | 1101 | Corridor | 6 | 28 | 12 |  |  | 168
25 |  |  |  | RA-Z3 |  |  | GF | 1102 | UO2 Pellet MFG. Room | 12 | 28 | 12 |  |  | 336 |  | Air Banance 0.1 ton 2대
26 |  |  |  | RA-Z3 |  |  | GF | 1103 | Stair #1 | 3 | 6 | 12 |  |  | 18
30 |  |  |  | RA-Z4 |  |  | GF | 1104 | Elevator #1 | 4 | 4 | 12 |  |  | 16 |  | Elevator Cargo 3.0 | UO2 분말 운송용
28 |  |  |  | RA-Z4 |  |  | GF | 1105 | UO2 Pellet MFG. Room | 21 | 24 | 12 |  |  | 504
29 |  |  |  | RA-Z4 |  |  | GF | 1106 | Powder Recovery Process Room | 7 | 18 | 12 |  |  | 134 |  | Air Banance 0.1 ton 1대
68 |  |  |  | RA-Z3 |  |  | GF | 1107 | Resingering & Performance Test Room | 7 | 12 | 12 |  |  | 42
68 |  |  |  | RA-Z3 |  |  | GF | 1108 | Pellet Laboratory | 7 | 12 | 12 |  |  | 42
31 |  |  |  | RA-Z3 |  |  | GF | 1109 | Gd Pelletizing MFG. Room | 14 | 30 | 12 |  |  | 386
33 |  |  |  | RA-Z3 |  |  | GF | 1110 | Stair #2 | 3 | 6 | 12 |  |  | 18
32 |  |  |  | RA-Z3 |  |  | GF | 1111 | Elevator #2 | 4 | 4 | 12 |  |  | 16 |  | Elevator Cargo 2.5
34 |  |  |  | RA-Z3 |  |  | GF | 1112 | Uranum Storage Room | 14 | 18 | 12 |  |  | 252 |  | Jib Crane(0.25t)
35 |  |  |  | RA-Z3 |  |  | GF | 1113 | Gd Rod Welding Room | 12 | 14 | 12 |  |  | 168
36
38 |  |  |  | RA-Z3 |  |  | GF | 1201 | Solid Waste Treatment & Storage Room | 8 | 24 | 5.5 |  |  | 192 |  | 2.0 t Suspended Crane : 1 | KNF 축소
39 |  |  |  | RA-Z3 |  |  | GF | 1202 | Stair #4 | 3 | 6 | 5.5 |  |  | 18
32 |  |  |  | RA-Z3 |  |  | GF | 1203 | Elevator #4 | 4 | 5 | 12 |  |  | 20 |  | Elevator Cargo | KNF 추가
40 |  |  |  | RA-Z1 |  |  | GF | 1204 | Shaft | 2 | 5 | 5.5 |  |  | 10
41 |  |  |  | RA-Z3 |  |  | GF | 1205 | Liquid Waste Treatment Room | 8 | 15 | 5.5 |  |  | 120 |  |  | KNF 확대
42 |  |  |  | RA-Z4 |  |  | GF | 1206 | Decontamination Room | 12 | 9 | 5.5 |  |  | 108 |  | Hoist 3t
43 |  |  |  | RA-Z3 |  |  | GF | 1207 | Corridor | 3 | 60 | 5.5 |  |  | 207
44
162 |  |  |  | RA-Z3 |  |  | GF | 1301 | Oratory (Prayer Room) -M | 7 | 9 | 5.5 |  |  | 63 |  |  | 방사능관리구역내 기도실
163 |  |  |  | RA-Z3 |  |  | GF | 1302 | Oratory (Prayer Room) -F | 7 | 9 | 5.5 |  |  | 63 |  |  | 방사능관리구역내 기도실
70 |  |  |  | RA-Z3 |  |  | GF | 1303 | Stair #5 | 3 | 8 | 5.5 |  |  | 24
71 |  |  |  | RA-Z1 |  |  | GF | 1304 | Shaft | 4 | 8 | 5.5 |  |  | 32
73 |  |  |  | RA-Z3 |  |  | GF | 1305 | Radiation Measurement Room | 8 | 14 | 5.5 |  |  | 112
75 |  |  |  | RA-Z3 |  |  | GF | 1306 | Change Room (M) | 4 | 15 | 5.5 |  |  | 60
77 |  |  |  | RA-Z3 |  |  | GF | 1307 | Change Room (W) | 6 | 8 | 5.5 |  |  | 48
78 |  |  |  | RA-Z3 |  |  | GF | 1308 | Hot Shower Room (M) | 3 | 4 | 5.5 |  |  | 12
79 |  |  |  | RA-Z3 |  |  | GF | 1309 | Hot Shower Room (F) | 3 | 4 | 5.5 |  |  | 12
72 |  |  |  | RA-Z3 |  |  | GF | 1310 | Laundry Room | 6 | 8 | 5.5 |  |  | 48
74 |  |  |  | RA-Z3 |  |  | GF | 1311 | Corridor | 3 | 67 | 5.5 |  |  | 201
80 |  |  |  | RA-Z1 |  |  | GF | 1312 | Health Physics Room | 7 | 9 | 5.5 |  |  | 63
81 |  |  |  | RA-Z1 |  |  | GF | 1313 | Locker Room (M) | 6 | 7 | 5.5 |  |  | 42
83 |  |  |  | RA-Z1 |  |  | GF | 1314 | Locker Room (W) | 6 | 9 | 5.5 |  |  | 54
84 |  |  |  | RA-Z1 |  |  | GF | 1315 | Main Hall Lobby | 8 | 17 | 5.5 |  |  | 175
87 |  |  |  | RA-Z1 |  |  | GF | 1316 | Elevator #3 | 4 | 4.5 | 5.5 |  |  | 18 |  | 2.5 Ton | Main Lobby(장애인겸용)
88 |  |  |  | RA-Z1 |  |  | GF | 1317 | Stair #3 | 3.5 | 7 | 5.5 |  |  | 24.5
71 |  |  |  | RA-Z1 |  |  | GF | 1318 | Shaft | 3 | 4.5 | 5.5 |  |  | 13.5
86 |  |  |  | RA-Z1 |  |  | GF | 1319 | Safety Guard | 6 | 6.5 | 5.5 |  |  | 39
90 |  |  |  | RA-Z1 |  |  | GF | 1320 | Toilet(M & W) | 6 | 7 | 5.5 |  |  | 42
50 |  |  |  | RA-Z1 |  |  | GF | 1321 | EDG Room | 8 | 14 | 5.5 |  |  | 112 |  |  | Shutter
12 |  |  |  | RA-Z1 |  |  | GF | 1322 | Battery Room | 7 | 8 | 5.5 |  |  | 56
13 |  |  |  | RA-Z1 |  |  | GF | 1323 | DC/UPS Room | 7 | 8 | 5.5 |  |  | 56
85
45 |  |  |  | RA-Z1 |  |  | GF | 1401 | SAS Room | 4 | 6 | 5.5 |  |  | 24
50 |  |  |  | RA-Z1 |  |  | GF | 1402 | Storage | 4 | 6 | 5.5 |  |  | 24
91 |  |  |  | RA-Z1 |  |  | GF | 1403 | Lounge | 6 | 6 | 5.5 |  |  | 36
92 |  |  |  | RA-Z1 |  |  | GF | 1404 | Meeting Room | 6 | 6 | 5.5 |  |  | 36
92 |  |  |  | RA-Z1 |  |  | GF | 1405 | Lecture Room | 6 | 14 | 5.5 |  |  | 84
14 |  |  |  | RA-Z1 |  |  | GF | 1406 | Air Compressor Room | 10 | 20 | 5.5 |  |  | 284 |  | Hoist ?
46 |  |  |  | RA-Z1 |  |  | GF | 1407 | Metallurgical Laboratory | 6 | 10 | 5.5 |  |  | 60
47 |  |  |  | RA-Z1 |  |  | GF | 1408 | Calibration Room | 6 | 10 | 5.5 |  |  | 60
48 |  |  |  | RA-Z1 |  |  | GF | 1409 | Component Cleaning Room | 3.6 | 6 | 5.5 |  |  | 21.6
48 |  |  |  | RA-Z1 |  |  | GF | 1410 | Receiving & Inspection Room | 8 | 10 | 5.5 |  |  | 58.4
49 |  |  |  | RA-Z1 |  |  | GF | 1411 | Corridor | 2 | 38 | 5.5 |  |  | 76
50 |  |  |  | RA-Z1 |  |  | GF | 1412 | Fuel Rod 1st Welding Room | 18 | 26 | 12 |  |  | 468 |  |  | Shutter
51 |  |  |  | RA-Z3 |  |  | GF | 1413 | Fuel Rod 2nd Welding Room | 12 | 20.5 | 12 |  |  | 246 |  | 1.0 t Suspended Crane : 2
49 |  |  |  | RA-Z1 |  |  | GF | 1414 | Corridor | 5.5 | 12 | 5.5 |  |  | 66
52 |  |  |  | RA-Z2 |  |  | GF | 1501 | Fuel Assembly + Storage Room | 18 | 67 | 15 |  |  | 1206 |  | 2 t OHC : 3 | Shutter
53 |  |  |  | RA-Z2 |  |  | GF | 1502 | FA Cleaning Room | 4 | 9 | 5.5 |  |  | 36 |  | 1.0 t Hoist : 2 | Pit FL-5000
56 |  |  |  | RA-Z2 |  |  | GF | 1503 | FA Packing Room | 14 | 26 | 15 |  |  | 364 |  | 7.5 t OHC : 1 | Shutter Door, Truck Zone
61 |  |  |  | RA-Z2 |  |  | GF | 1504 | Storage | 3 | 6 | 5.5 |  |  | 18
63 |  |  |  | RA-Z1 |  |  | GF | 1505 | Stair #7 | 3 | 6 | 5.5 |  |  | 18
58 |  |  |  | RA-Z2 |  |  | GF | 1506 | GT Welding Area | 8 | 18 | 5.5 |  |  | 144
57 |  |  |  | RA-Z1 |  |  | GF | 1507 | NDT CT'L Room | 6 | 6 | 5.5 |  |  | 36
62 |  |  |  | RA-Z2 |  |  | GF | 1508 | Toilet (M & W) | 6 | 6 | 5.5 |  |  | 36
60 |  |  |  | RA-Z2 |  |  | GF | 1509 | Maintenance Room | 6 | 12 | 5.5 |  |  | 72
60 |  |  |  | RA-Z2 |  |  | GF | 1510 | Tool Room | 6 | 6 | 5.5 |  |  | 36
64 |  |  |  | RA-Z1 |  |  | GF | 1511 | Stair #6 | 3 | 7 | 5.5 |  |  | 21
71 |  |  |  | RA-Z1 |  |  | GF | 1512 | Shaft | 3 | 4 | 5.5 |  |  | 12
66 |  |  |  | RA-Z1 |  |  | GF | 1513 | Truck Zone (no wall) | 6 | 14 |  |  |  | 84
93
94 | [6 empty] | 1st Floor |  | EL+5,500 ~ EL+12,000 | 58 | 125 | 6.5 |  | 7250 | 3229 | 47125
105 |  |  |  | RA-Z1 |  |  | 1F | 2201 | Office-9 | 8 | 24 | 6.5 |  |  | 192
113 |  |  |  | RA-Z1 |  |  | 1F | 2202 | Corridor (Visitor Tour) | 3 | 60 | 6.5 |  |  | 180
114 |  |  |  | RA-Z1 |  |  | 1F | 2203 | Spare Parts Storage Room | 8 | 18 | 6.5 |  |  | 144
115 |  |  |  | RA-Z1 |  |  | 1F | 2204 | Consumable Storage Room | 7 | 12 | 6.5 |  |  | 84
39 |  |  |  | RA-Z3 |  |  | 1F | 2205 | Stair #4 | 3 | 6 | 6.5 |  |  | 18
32 |  |  |  | RA-Z3 |  |  | 1F | 2206 | Elevator #4 | 4 | 5 | 6.5 |  |  | 20 |  | Elevator Cargo | KNF 추가
40 |  |  |  | RA-Z1 |  |  | 1F | 2207 | Shaft | 2 | 5 | 6.5 |  |  | 10
97
6 |  |  |  | RA-Z1 |  |  | 1F | 2301 | Electrical Room | 21 | 40 | 6.5 |  |  | 680 |  |  | 지하에서 이동
99 |  |  |  | RA-Z1 |  |  | 1F | 2302 | Utility Control Room | 6 | 7 | 6.5 |  |  | 42
100 |  |  |  | RA-Z1 |  |  | 1F | 2303 | Electrical and I&C Component Room | 6 | 7 | 6.5 |  |  | 42
106 |  |  |  | RA-Z1 |  |  | 1F | 2304 | Network Equipment Room | 3 | 7 | 6.5 |  |  | 21
8 |  |  |  | RA-Z1 |  |  | 1F | 2305 | FM200 Cylinder Room | 8 | 12 | 6.5 |  |  | 96 |  |  | 지하에서 이동
70 |  |  |  | RA-Z3 |  |  | 1F | 2306 | Stair #5 | 3 | 8 | 6.5 |  |  | 24
71 |  |  |  | RA-Z1 |  |  | 1F | 2307 | Shaft | 3 | 8 | 6.5 |  |  | 24
110 |  |  |  | RA-Z1 |  |  | 1F | 2308 | Toilet(M & W) | 6 | 6 | 6.5 |  |  | 36
111 |  |  |  | RA-Z1 |  |  | 1F | 2309 | Elevator #3 | 4 | 4.5 | 6.5 |  |  | 18 |  | 2.5 Ton | Main Lobby(장애인겸용)
88 |  |  |  | RA-Z1 |  |  | 1F | 2310 | Stair #3 | 3.5 | 7 | 6.5 |  |  | 24.5
71 |  |  |  | RA-Z1 |  |  | 1F | 2311 | Shaft | 3 | 4.5 | 6.5 |  |  | 13.5
118 |  |  |  | RA-Z1 |  |  | 1F | 2312 | Office-1 | 6 | 8 | 6.5 |  |  | 48
118 |  |  |  | RA-Z1 |  |  | 1F | 2313 | Office-2 | 6 | 8 | 6.5 |  |  | 48
116 |  |  |  | RA-Z1 |  |  | 1F | 2314 | Lobby | 8 | 11 | 6.5 |  |  | 88
96 |  |  |  | RA-Z1 |  |  | 1F | 2315 | Corridor | 3 | 30 | 6.5 |  |  | 90
97
98 |  |  |  | RA-Z1 |  |  | 1F | 2401 | Process Electric Room | 14 | 25 | 6.5 |  |  | 350
118 |  |  |  | RA-Z1 |  |  | 1F | 2402 | Office-3 (Rest Room) | 6 | 9 | 6.5 |  |  | 54
118 |  |  |  | RA-Z1 |  |  | 1F | 2403 | Office-4 (Public Address Room) | 6 | 9 | 6.5 |  |  | 54
118 |  |  |  | RA-Z1 |  |  | 1F | 2404 | Office-5 | 6 | 8 | 6.5 |  |  | 48
118 |  |  |  | RA-Z1 |  |  | 1F | 2405 | Office-6 (Conferrence Room) | 6 | 8 | 6.5 |  |  | 48
116 |  |  |  | RA-Z1 |  |  | 1F | 2406 | Lobby | 8 | 12 | 6.5 |  |  | 96
116 |  |  |  | RA-Z1 |  |  | 1F | 2407 | Lobby-2 | 5 | 8 | 6.5 |  |  | 40
117 |  |  |  | RA-Z1 |  |  | 1F | 2408 | Corridor (Visitor Tour) | 3 | 26 | 6.5 |  |  | 78
119
120 |  |  |  | RA-Z1 |  |  | 1F | 2501 | Office-7 | 5 | 18 | 6.5 |  |  | 90
121 |  |  |  | RA-Z1 |  |  | 1F | 2502 | Office-8 | 5 | 24 | 6.5 |  |  | 120
122 |  |  |  | RA-Z1 |  |  | 1F | 2503 | Toilet (M & W) | 5 | 6 | 6.5 |  |  | 30
162 |  |  |  | RA-Z1 |  |  | 1F | 2504 | Oratory (Prayer Room) -M | 5 | 6 | 6.5 |  |  | 30
123 |  |  |  | RA-Z1 |  |  | 1F | 2505 | Stair #6 | 3 | 7 | 6.5 |  |  | 21
71 |  |  |  | RA-Z1 |  |  | 1F | 2506 | Shaft | 2 | 4 | 6.5 |  |  | 8
124 |  |  |  | RA-Z1 |  |  | 1F | 2507 | Stair #7 | 3 | 6 | 6.5 |  |  | 18
125 |  |  |  | RA-Z1 |  |  | 1F | 2508 | Corridor (Visitor Tour) | 3 | 67 | 6.5 |  |  | 201
126
127 | [6 empty] | 2nd Floor |  | EL+12,000 ~ EL+18,000 | 58 | 125 | 6 |  | 7250 | 5443 | 43500
128 |  |  |  | RA-Z3 |  |  | 2F | 3101 | Powder Preparation Room | 21 | 24 | 6 |  |  | 504 |  | 2t Hoist+5t Hoist | 46 tonU
139 |  |  |  | RA-Z3 |  |  | 2F | 3102 | Maintenance Room | 7 | 16 | 6 |  |  | 112
129 |  |  |  | RA-Z3 |  |  | 2F | 3103 | Stair #1 | 3 | 6 | 6 |  |  | 18
131 |  |  |  | RA-Z3 |  |  | 2F | 3104 | Elevator #1 | 4 | 4 | 6 |  |  | 16 |  | Elevator Cargo 3.0
69 |  |  |  | RA-Z3 |  |  | 2F | 3105 | Chemistry Laboratory | 12 | 21 | 6 |  |  | 252
132 |  |  |  | RA-Z3 |  |  | 2F | 3106 | Gd Powder Preparation Room | 18 | 21 | 6 |  |  | 378
132 |  |  |  | RA-Z3 |  |  | 2F | 3107 | Additive & GD203 Storage | 4 | 6 | 6 |  |  | 24
134 |  |  |  | RA-Z3 |  |  | 2F | 3108 | Stair #2 | 3 | 6 | 6
133 |  |  |  | RA-Z3 |  |  | 2F | 3109 | Elevator #2 | 4 | 4 | 6 |  |  |  |  | Elevator Cargo 2.5
150
38 |  |  |  | RA-Z3 |  |  | 2F | 3201 | Solid Waste Treatment & Storage Room | 11 | 24 | 6 |  |  | 264 |  |  | KNF 추가
39 |  |  |  | RA-Z3 |  |  | 2F | 3202 | Stair #4 | 3 | 6 | 6 |  |  | 18
32 |  |  |  | RA-Z3 |  |  | 2F | 3203 | Elevator #4 | 4 | 5 | 6 |  |  | 20 |  | Elevator Cargo | KNF 추가
40 |  |  |  | RA-Z1 |  |  | 2F | 3204 | Shaft | 2 | 5 | 6 |  |  | 10
135 |  |  |  | RA-Z3 |  |  | 2F | 3205 | Shaft | 3 | 9 | 6 |  |  | 27
137 |  |  |  | RA-Z3 |  |  | 2F | 3206 | Corridor | 3 | 43 | 6 |  |  | 129
150
136 |  |  |  | RA-Z3 |  |  | 2F | 3301 | Exhaust Fan Room | 18 | 21 | 6 |  |  | 420 |  |  | Stack
137 |  |  |  | RA-Z3 |  |  | 2F | 3302 | Corridor | 3 | 38 | 6 |  |  | 114
138 |  |  |  | RA-Z3 |  |  | 2F | 3303 | Air Filteration Room | 15 | 51 | 6 |  |  | 765
141 |  |  |  | RA-Z3 |  |  | 2F | 3304 | Stack Monitoring Room | 6 | 7 | 6 |  |  | 42
142 |  |  |  | RA-Z3 |  |  | 2F | 3305 | Air Sampler Pump Room | 3 | 8 | 6 |  |  | 24
143 |  |  |  | RA-Z3 |  |  | 2F | 3306 | PLC & MCC Room | 7 | 8 | 6 |  |  | 56
144 |  |  |  | RA-Z3 |  |  | 2F | 3307 | Stair #5 | 3 | 8 | 6 |  |  | 24
145 |  |  |  | RA-Z3 |  |  | 2F | 3308 | Lobby-2 | 7 | 8 | 6 |  |  | 56
111 |  |  |  | RA-Z1 |  |  | 2F | 3309 | Elevator #3 | 4 | 4.5 | 6 |  |  | 18 |  | 2.5 Ton | Main Lobby(장애인겸용)
88 |  |  |  | RA-Z1 |  |  | 2F | 3310 | Stair #3 | 3.5 | 7 | 6 |  |  | 24.5
71 |  |  |  | RA-Z1 |  |  | 2F | 3311 | Shaft | 3 | 4.5 | 6 |  |  | 13.5
116 |  |  |  | RA-Z1 |  |  | 2F | 3312 | Lobby | 8 | 11 | 6 |  |  | 88
150
6 |  |  |  | RA-Z1 |  |  | 2F | 3401 | AHU Room | 26 | 58 | 6 |  |  | 1472
6 |  |  |  | RA-Z1 |  |  | 2F | 3402 | Supply Air Fan Room | 3 | 12 | 6 |  |  | 36
150
120 |  |  |  | RA-Z1 |  |  | 2F | 3501 | Office-1 | 5 | 18 | 6 |  |  | 90
121 |  |  |  | RA-Z1 |  |  | 2F | 3502 | Office-2 | 5 | 24 | 6 |  |  | 120
122 |  |  |  | RA-Z1 |  |  | 2F | 3503 | Toilet (M & W) | 5 | 6 | 6 |  |  | 30
162 |  |  |  | RA-Z1 |  |  | 2F | 3504 | Oratory (Prayer Room) -F | 5 | 6 | 6 |  |  | 30
123 |  |  |  | RA-Z1 |  |  | 2F | 3505 | Stair #6 | 3 | 7 | 6 |  |  | 21
71 |  |  |  | RA-Z1 |  |  | 2F | 3506 | Shaft | 2 | 4 | 6 |  |  | 8
124 |  |  |  | RA-Z1 |  |  | 2F | 3507 | Stair #7 | 3 | 6 | 6 |  |  | 18
125 |  |  |  | RA-Z1 |  |  | 2F | 3508 | Corridor (Visitor Tour) | 3 | 67 | 6 |  |  | 201
157
158 | 2 |  | Administration Building | RC | 1 | 2 |  |  |  | 19.6 | 50.8 | 9.2 |  | 995.68 | 1705.09 | 9160.256
159 | [6 empty] | Ground FL |  |  | 19.6 | 50.8 | 4.6 |  | 995.68 | 995.68
160 | [6 empty] | GF | 1001 | Reception Area | 4 | 3.6 | 4.6 |  |  | 14.4
161 | [6 empty] | GF | 1002 | Security Office | 4 | 3.6 | 4.6 |  |  | 14.4
162 | [6 empty] | GF | 1003 | Oratory (Prayer Room) -M | 4 | 10.8 | 4.6 |  |  | 43.2 |  |  | ITP / 2.8 reserved space for male and female oratory
163 | [6 empty] | GF | 1004 | Oratory (Prayer Room) -F | 4 | 3.6 | 4.6 |  |  | 14.4 |  |  | ITP / 2.8 reserved space for male and female oratory
164 | [6 empty] | GF | 1005 | Emergency Management Center and Alarm Center | 4 | 7.2 | 4.6 |  |  | 28.8 |  |  | ITP / 2.8 emergency management center and alarm center
165 | [6 empty] | GF | 1006 | Control Center | 4 | 3.6 | 4.6 |  |  | 14.4 |  |  | ITP / 2.8 control center
166 | [6 empty] | GF | 1007 | Medical Room | 4 | 3.6 | 4.6 |  |  | 14.4 |  |  | ITP / 2.8 offices clinic
167 | [6 empty] | GF | 1008 | DC/UPS Room | 4 | 3.8 | 4.6 |  |  | 15.2
168 | [6 empty] | GF | 1009 | Battery Room | 4 | 3.6 | 4.6 |  |  | 14.4
169 | [6 empty] | GF | 1010 | Conference Room | 7.2 | 7.2 | 4.6 |  |  | 51.84
170 | [6 empty] | GF | 1011 | Break Room | 4.6 | 7.2 | 4.6 |  |  | 33.12
171 | [6 empty] | GF | 1012 | Electrical Room | 7.4 | 5.2 | 4.6 |  |  | 38.48
172 | [6 empty] | GF | 1013 | FM200 Cylinder Room | 3 | 5.2 | 4.6 |  |  | 15.6 |  |  | IOM-AR-0010 : SF 회신
173 | [6 empty] | GF | 1014 | Toilet (M) | 3.6 | 7.2 | 4.6 |  |  | 25.92
174 | [6 empty] | GF | 1015 | Toilet (F) | 3.6 | 5.2 | 4.6 |  |  | 18.72
175 | [6 empty] | GF | 1016 | Janitor | 3.6 | 2 | 4.6 |  |  | 7.2
176 | [6 empty] | GF | 1017 | Entry Vestibule | 2.4 | 7.2 | 4.6 |  |  | 17.28
177 | [6 empty] | GF | 1018 | Lobby | 7.2 | 17.2 | 4.6 |  |  | 123.84
178 | [6 empty] | GF | 1019 | Elevator | 2.45 | 2.6 | 4.6 |  |  | 6.37 |  | Elevator 1.0 t (15 Persons) | Main Lobby(장애인겸용)
179 | [6 empty] | GF | 1020 | Duct Shaft | 2.35 | 2.6 | 4.6 |  |  | 6.11
180 | [6 empty] | GF | 1021 | Storage-2 | 2.4 | 2.6 | 4.6 |  |  | 6.24
181 | [6 empty] | GF | 1022 | Stair-1 | 3 | 7.4 | 4.6 |  |  | 22.2
182 | [6 empty] | GF | 1023 | Stair-2 | 3 | 7.2 | 4.6 |  |  | 21.6
183 | [6 empty] | GF | 1024 | Corridor | 2.2 | 61 | 4.6 |  |  | 141.4
184 | [6 empty] | GF | 1025 | Kitchen | 6.2 | 11 | 9.2 |  |  | 68.2 |  |  | ITP / 2.8 kitchen and dining room,
185 | [6 empty] | GF | 1026 | Food Storage | 3 | 3.6 | 9.2 |  |  | 10.8
186 | [6 empty] | GF | 1027 | Dining Entry Vestibule | 2.4 | 7.4 | 9.2 |  |  | 17.76
187 | [6 empty] | GF | 1028 | Dining Room | 13.4 | 14.6 | 9.2 |  |  | 189.4 |  |  | ITP / 2.8 kitchen and dining room,
188 | [6 empty] | 1st FL |  |  | 19.6 | 36.2 | 4.6 |  | 709.52 | 709.41
189 | [6 empty] | 1F | 2001 | Office-1 | 4 | 3.6 | 4.6 |  |  | 14.4
190 | [6 empty] | 1F | 2002 | Office-2 | 4 | 3.6 | 4.6 |  |  | 14.4
191 | [6 empty] | 1F | 2003 | Oratory (Prayer Room) -M | 4 | 7.2 | 4.6 |  |  | 28.8
192 | [6 empty] | 1F | 2004 | Office-3 | 4 | 3.6 | 4.6 |  |  | 14.4
193 | [6 empty] | 1F | 2005 | Office-4 | 4 | 3.6 | 4.6 |  |  | 14.4
194 | [6 empty] | 1F | 2006 | Plant Manager Office | 5.2 | 6.2 | 4.6 |  |  | 35.21
195 | [6 empty] | 1F | 2007 | Toilet | 2.6 | 2.2 | 4.6 |  |  | 5.72
196 | [6 empty] | 1F | 2008 | Secretary Room | 4 | 3.6 | 4.6 |  |  | 14.4
197 | [6 empty] | 1F | 2009 | Manager Office-1 | 4 | 3.6 | 4.6 |  |  | 14.4
198 | [6 empty] | 1F | 2010 | Manager Office-2 | 4 | 3.6 | 4.6 |  |  | 14.4
199 | [6 empty] | 1F | 2011 | Manager Office-3 | 4 | 3.6 | 4.6 |  |  | 14.4
200 | [6 empty] | 1F | 2012 | Document Storage | 3 | 7.2 | 4.6 |  |  | 21.6
201 | [6 empty] | 1F | 2013 | Conference Room | 7.2 | 7.2 | 4.6 |  |  | 51.84
202 | [6 empty] | 1F | 2014 | Break Room | 4.6 | 7.2 | 4.6 |  |  | 33.12
203 | [6 empty] | 1F | 2015 | Open Office | 10.4 | 5.2 | 4.6 |  |  | 54.08
204 | [6 empty] | 1F | 2016 | Toilet (M) | 3.6 | 7.2 | 4.6 |  |  | 25.92
205 | [6 empty] | 1F | 2017 | Toilet (F) | 3.6 | 5.2 | 4.6 |  |  | 18.72
206 | [6 empty] | 1F | 2018 | Janitor | 3.6 | 2 | 4.6 |  |  | 7.2
207 | [6 empty] | 1F | 2019 | Shower & Locker Room (M) | 4 | 7.2 | 4.6 |  |  | 28.8
208 | [6 empty] | 1F | 2020 | Lobby | 7.2 | 12.6 | 4.6 |  |  | 90.72
209 | [6 empty] | 1F | 2021 | Elevator | 2.45 | 2.6 | 4.6 |  |  | 6.37 |  | Elevator 1.0 t (15 Persons) | Main Lobby(장애인겸용)
210 | [6 empty] | 1F | 2022 | Duct Shaft | 2.35 | 2.6 | 4.6 |  |  | 6.11
211 | [6 empty] | 1F | 2023 | Storage-2 | 2.4 | 2.6 | 4.6 |  |  | 6.24
212 | [6 empty] | 1F | 2024 | Stair-1 | 3 | 7.4 | 4.6 |  |  | 22.2
213 | [6 empty] | 1F | 2025 | Stair-2 | 3 | 7.2 | 4.6 |  |  | 21.6
214 | [6 empty] | 1F | 2026 | Corridor | 2.2 | 55.8 | 4.6 |  |  | 129.96
215
216 | 3 |  | Workshop & Warehouse | RC | 1 | 1 |  |  |  | 16 | 36 | 7.2 |  | 576 | 576 | 4147.2 |  | ITP / 2.8
217 |  |  | 핵연료제조공정외 일반저장동 |  |  |  | Ground FL |  |  | 16 | 36 | 7.2 |  | 576 | 576 | 4147.2
218 | [6 empty] | GF | 1001 | Oils and Flammable Products Warehouse | 6 | 7 | 7.2 |  |  | 42 |  |  | ITP / 2.8 oils and flammable products warehouse
220 | [6 empty] | GF | 1002 | Chemical Storage Room | 3 | 6 | 7.2 |  |  | 18
221 | [6 empty] | GF | 1003 | Conventional Material Warehouses | 12 | 6 | 7.2 |  |  | 72 |  |  | ITP / 2.8 conventional material warehouses
222 | [6 empty] | GF | 1004 | Tool Room | 3 | 6 | 7.2 |  |  | 18
223 | [6 empty] | GF | 1005 | Mechnical Workshop (Maintenance) | 9 | 12 | 7.2 |  |  | 90 |  | OHC 확인 Shutter W4xH4m | ITP / 2.8 maintenance
224 | [6 empty] | GF | 1006 | Electrical and I&C Workshop | 6 | 6 | 7.2 |  |  | 36
225 | [6 empty] | GF | 1007 | Electrical Room | 6 | 5.2 | 7.2 |  |  | 31.2
226 | [6 empty] | GF | 1008 | FM200 Cylinder Room | 3 | 5.2 | 7.2 |  |  | 15.6 |  |  | IOM-AR-0010 : SF 회신
227 | [6 empty] | GF | 1009 | Office 1 | 6 | 5.2 | 7.2 |  |  | 31.2
229 | [6 empty] | GF | 1010 | Toilet(M) | 3 | 6 | 7.2 |  |  | 18
230 | [6 empty] | GF | 1011 | Shower & Locker Room (M) | 6 | 5.2 | 7.2 |  |  | 31.2
231 | [6 empty] | GF | 1012 | Vestibule | 3 | 4 | 7.2 |  |  | 12
232 | [6 empty] | GF | 1013 | Corridor 1 | 1.8 | 24 | 7.2 |  |  | 70.8
232 | [6 empty] | GF | 1014 | Corridor 2 | 3 | 24 | 7.2 |  |  | 90
233
234 | 4 |  | Fire Brigade Building | RC | 1 | 2 |  |  |  | 16.8 | 41.9 | 8.4 |  | 582 | 801.27 | 3298.68 |  | ITP / 2.8 fire brigade
235 | [6 empty] | Ground FL |  |  | 16.8 | 41.9 | 4.2 |  | 582 | 598.34 | 2444.4
236 | [6 empty] | GF | 1001 | Fire Truck Bay | 16.8 | 16.6 | 7 |  |  | 267.36 |  |  | Shutter W4xH5m x 4nos.
237 | [6 empty] | GF | 1002 | Tool Room | 2.4 | 4.8 | 4.2 |  |  | 11.52
238 | [6 empty] | GF | 1002 | Ambulance Bay | 8.45 | 12 | 4.2 |  |  | 101.4 |  |  | Shutter W4xH4m x 2nos.
239 | [6 empty] | GF | 1003 | Medical Station | 8.35 | 4.7 | 4.2 |  |  | 39.245
240 | [6 empty] | GF | 1004 | First Aid Room | 5 | 4.7 | 4.2 |  |  | 23.5
241 | [6 empty] | GF | 1005 | Command Room | 7.1 | 4.7 | 4.2 |  |  | 33.37
242 | [6 empty] | GF | 1006 | Kitchen | 3.5 | 4.7 | 4.2 |  |  | 16.45
243 | [6 empty] | GF | 1007 | Electrical Room | 3.5 | 4.7 | 4.2 |  |  | 16.45
244 | [6 empty] | GF | 1008 | Toilet (M & F) | 3.5 | 4.7 | 4.2 |  |  | 16.45
245 | [6 empty] | GF | 1009 | Corridor | 2.6 | 16.95 | 4.2 |  |  | 44.07
246 | [6 empty] | GF | 1010 | Stair | 2.75 | 4.7 | 4.2 |  |  | 12.925
226 | [6 empty] | GF | 1011 | FM200 Cylinder Room | 3 | 5.2 | 7.2 |  |  | 15.6 |  |  | IOM-AR-0010 : SF 회신-Room추가
247
248 | [6 empty] | 1st Floor |  |  | 12 | 16.95 | 4.2 |  | 203.4 | 202.93 | 854.28
249 | [6 empty] | 1F | 2001 | Shower & Locker Room (M & F) | 9.75 | 4.7 | 4.2 |  |  | 45.825
250 | [6 empty] | 1F | 2002 | Sleeping Quarters | 7.1 | 4.7 | 4.2 |  |  | 33.37
251 | [6 empty] | 1F | 2003 | Staff Room | 7.1 | 4.7 | 4.2 |  |  | 33.37
252 | [6 empty] | 1F | 2004 | Break Room | 7.1 | 4.7 | 4.2 |  |  | 33.37
253 | [6 empty] | 1F | 2005 | Corridor | 2.6 | 16.95 | 4.2 |  |  | 44.07
254 | [6 empty] | 1F | 2006 | Stair | 2.75 | 4.7 | 4.2 |  |  | 12.925
255
256 | 5 |  | Water Treatment Building | RC | 1 | 1 |  |  |  | 22.5 | 28 | 7 |  | 630 | 630 | 4410 |  | ITP / 2.8 water treatment plant
257 | [6 empty] | Ground FL |  |  | 22.5 | 28 | 7 |  | 630 | 630 | 4410
258 | [6 empty] | GF | 1001 | Water Treatment Room | 17 | 28 | 7 |  |  | 434.75 |  |  | [환경 IOM-EN-0002, 08/04]
259 | [6 empty] | GF | 1002 | Laboratory Room | 7 | 5.5 | 7 |  |  | 38.5
260 | [6 empty] | GF | 1003 | Chemical Storage Room | 7 | 5.5 | 7 |  |  | 38.5
261 | [6 empty] | GF | 1004 | Control Room | 5 | 5.5 | 7 |  |  | 27.5
262 | [6 empty] | GF | 1005 | MCC Room | 9 | 5.5 | 7 |  |  | 49.5
263 | [6 empty] | GF | 1006 | FM200 Cylinder Room | 4.5 | 5.5 | 7 |  |  | 24.75 |  |  | IOM-AR-0010 : SF 회신
264 | [6 empty] | GF | 1007 | Toilet | 5.5 | 3 | 7 |  |  | 16.5
266
267 | 6 |  | Main Gate House | RC | 1 | 1 |  |  |  | 14.5 | 17 | 4.5 |  | 244.5 | 244.5 | 1100.25
268 | [6 empty] | Ground FL |  |  | 14.5 | 17 | 4.5 |  | 244.5 | 244.5 | 1100.25
269 | [6 empty] | GF | 1001 | Guard Room | 7 | 7 | 4.5 |  |  | 49 |  |  | ITP / 2.8 employee access control gates;
270 | [6 empty] | GF | 1002 | Reception & Waiting Room | 9 | 9 | 4.5 |  |  | 61
271 | [6 empty] | GF | 1003 | Vestibule | 3 | 5 | 4.5 |  |  | 15
272 | [6 empty] | GF | 1004 | Security Control Room | 3.7 | 5 | 4.5 |  |  | 18.5 |  |  | ITP / 2.8 employee access control gates;
273 | [6 empty] | GF | 1005 | Office | 3 | 4 | 4.5 |  |  | 12
274 | [6 empty] | GF | 1006 | Break Room | 3.2 | 4 | 4.5 |  |  | 12.8
275 | [6 empty] | GF | 1007 | Kitchen | 2.2 | 3.2 | 4.5 |  |  | 7.04
276 | [6 empty] | GF | 1008 | Storage Room | 2.8 | 3.2 | 4.5 |  |  | 8.96
277 | [6 empty] | GF | 1009 | Shower & Locker Room (M & F) | 4 | 5 | 4.5 |  |  | 14.4
278 | [6 empty] | GF | 1010 | Toilet (M) | 2.8 | 5 | 4.5 |  |  | 14
279 | [6 empty] | GF | 1011 | Toilet (F) | 2.2 | 3 | 4.5 |  |  | 6.6
280 | [6 empty] | GF | 1012 | Corridor | 1.8 | 14 | 4.5 |  |  | 25.2
281
282 | 7 |  | Gas Storage Building | RC | 1 | 1 |  |  |  | 19.05 | 23.2 | 6 |  | 441.96 | 441.96 | 2651.76
283 | [6 empty] | Ground FL |  |  | 19.05 | 23.2 | 6 |  | 441.96 | 441.96 | 2651.76
284 | [6 empty] | GF | 1001 | H2 Supply/Storage Area | 14.5 | 14.2 | 6 |  |  | 205.9 |  |  | Plot Plan Rev.E(22.08.05)
285 | [6 empty] | GF | 1004 | Helium Supply/Storage Area | 4.55 | 14.2 | 6 |  |  | 64.61 |  |  | Plot Plan Rev.E(22.08.05)
286 | [6 empty] | GF | 1002 | N2 Gas Room | 7.25 | 9 | 5 |  |  | 65.25 |  |  | Plot Plan Rev.E(22.08.05)
287 | [6 empty] | GF | 1002 | Ar Gas Room | 7.25 | 9 | 5 |  |  | 65.25 |  |  | Plot Plan Rev.E(22.08.05)
288 | [6 empty] | GF | 1002 | Forming Gas Supply/Storage Area | 4.55 | 9 | 5 |  |  | 40.95 |  |  | Plot Plan Rev.E(22.08.05)
291
292 | 8 |  | Fire Water Pump Building | RC | 1 | 1 |  |  |  | 11 | 25 | 6 |  | 275 | 275 | 1650
293 |  |  | 주시설동 지하에서 독립건물로 분리 |  |  |  | Ground FL |  |  | 11 | 25 | 6 |  | 275 | 275 | 1650 |  | ITP / 2.8 concrete firefighting water tanks and pumps;
294 | [6 empty] | GF | 1001 | Engine Driven Fire Water Pump Room | 11 | 12.5 | 6 |  |  | 137.5 |  |  | [소방팀] 08/03 E-mail
294 | [6 empty] | GF | 1002 | Motor Driven Fire Water Pump Room | 11 | 12.5 | 6 |  |  | 137.5 |  |  | [소방팀] 08/03 E-mail
295
296 | 9 |  | Raw Water Pump Building | RC | 1 | 1 |  |  |  | 14.6 | 5 | 6 |  | 73 | 73 | 438
297 | [6 empty] | Ground FL |  |  | 14.6 | 5 | 6 |  | 73 | 73 | 438
298 | [6 empty] | GF | 1001 | Raw Water Pump Room | 14.6 | 5 | 6 |  |  | 73 |  |  | Plot Plan Rev.E(22.08.05)
299
300 | S1 |  | Covered Car Parking Shelter | Steel | 3 | 1 |  |  |  | 5.3 | 30 | 3.4 |  | 159 | 159 | 540.6
301 | [6 empty] | Ground FL |  |  | 5.3 | 30 | 3.4 |  | 159 | 159 | 540.6
302 | [8 empty] | Car Parking (Small Vehicle 10 Nos.) | 5.3 | 30 | 3.4 |  |  | 159 |  |  | ITP / 2.8 parking and transportation platforms area
303
304 | S2 |  | Covered Car Parking Shelter | Steel | 1 | 1 |  |  |  | 14 | 18 | 7.2 |  | 252 | 252 | 1814.4
305 | [6 empty] | Ground FL |  |  | 14 | 18 | 7.2 |  | 252 | 252 | 1814.4
306 | [8 empty] | Car Parking (Large Vehicle 4 Nos.) | 14 | 18 | 7.2 |  |  | 252 |  |  | ITP / 2.8 parking and transportation platforms area
307
308
309
310