## (AR) BOQ
BOQ
Work Master Code | Gauge Code | Description | Spec. | Additional Spec. (설계자 작성) | Reference to (설계자 작성) | UoM | Total | _
[8 empty] | Steam Turbine Building | Steam Turbine Foundation | Gate House
[8 empty] | 00.20.00 | 00.20.00 | 00.21.00
[8 empty] | STB | STF | GAH
Earth Work
-
A01ZZ001-00004 |  | Excavation | - Soil, Mech. - D ≤ 2.0M |  | A01-01 | M3
A01ZZ001-00005 |  | Excavation | - Soil, Mech. - 2.0M < D ≤ 4.0M |  | A01-01 | M3
A01ZZ001-00006 |  | Excavation | - Soil, Mech. - D > 4.0M |  | A01-01 | M3
A01ZZ003-00001 |  | Backfill | - Re-use, Soil | - Compaction=95% | A01-02 | M3
A01ZZ004-00001 |  | Disposal | - Soil |  | A01-03 | M3
A01ZZ012-00001 |  | PE Sheet (Vapor Barrier) |  | - THK=0.06mm | A01-04 | M2
Pile Work
Piling Work
A02AA018-00001 |  | Pretensioned High-strength Concrete Pile (Type-A) | - Direct Driving - Including Pile Connection and Joint Welding Work | - DIA=500mm - Pile Length per Hole=30M | A02-01 | M
A02AA018-00002 |  | Pretensioned High-strength Concrete Pile (Type-A) | - Driving After Predrilling - Including Pile Connection and Joint Welding Work | - DIA=500mm - Pile Length per Hole=30M | A02-02 | M
Pile Head Treatment
A02AB018-00001 |  | Pretensioned High-strength Concrete Pile (Type-A) |  | - DIA=500mm | A02-03 | EA
Concrete Work
Substructure Work
A03AD029-00005 |  | Anchor Bolt (Installation only) | - M24 | - L=600mm | A03-01 | EA
A03AD029-00008 |  | Anchor Bolt (Installation only) | - M36 | - L=1500mm | A03-01 | EA
A03AD032-00007 |  | Structural Concrete | - Cement Type-1 - 25MPa < F'c (Cylinder Strength) ≤ 30MPa | - f'c=28MPa, W/CONSTRUCTION JOINT | A03-04 | M3
A03AD032-00010 |  | Structural Concrete | - Cement Type-1 - 20MPa < F'c (Cylinder Strength) ≤ 25MPa | - f'c=24MPa, W/CONSTRUCTION JOINT | A03-03 | M3
A03AD034-00004 |  | Lean Concrete (including Form work) | - Cement Type-1 - 10MPa < F'c (Cylinder Strength) ≤ 20MPa | - f'c=14MPa, W/CONSTRUCTION JOINT | A03-02 | M3
A03AD035-00001 |  | Form Work (3 times in use) | - Flat Form - Dressed Lumber, Plywood or Steel Form(Wood Planks are not Allowed) incl. Chamfer | - NORMAL FACED FORM FOR UNDERGROUND | A03-07 | M2
A03AD037-00003 |  | Rebar Work | - Deformed Bar (Non-Coat.) - 300MPa<Fy≤400MPa | - KS D 3504 SD400 OR ASTM A615 GRADE 60 | A03-11 | TON
A03AD046-00001 |  | Water Stop | - PVC Type | - W=150mm | A03-16 | M
Mass Concrete Work
A03AE032-00007 | A | Structural Concrete | - Cement Type-1 - 25MPa < F'c (Cylinder Strength) ≤ 30MPa - Including Concrete Temperature Control (Pile Cooling & Curing), Max Temperature of Concrete : 30℃ | - f'c=28MPa (UG), W/CONSTRUCTION JOINT | A03-04 | M3
A03AE032-00007 | B | Structural Concrete | - Cement Type-1 - 25MPa < F'c (Cylinder Strength) ≤ 30MPa - Including Concrete Temperature Control (Pile Cooling & Curing), Max Temperature of Concrete : 30℃ | - f'c=28MPa (AG), W/CONSTRUCTION JOINT | A03-05 | M3
A03AE034-00004 |  | Lean Concrete (including Form work) | - Cement Type-1 - 10MPa < F'c (Cylinder Strength) ≤ 20MPa | - f'c=14MPa, W/CONSTRUCTION JOINT | A03-02 | M3
A03AE035-00001 |  | Form Work (3 times in use) | - Flat Form - Dressed Lumber, Plywood or Steel Form(Wood Planks are not Allowed) incl. Chamfer | - FOR TURBINE GENERATOR FOUNATION | A03-07 | M2
A03AE036-00001 |  | Form Work (1 time in use) | - Flat Form - Dressed Lumber, Plywood or Steel Form(Wood Planks are not Allowed) incl. Chamfer | - FOR TURBINE GENERATOR FOUNATION | A03-06 | M2
A03AE037-00003 |  | Rebar Work | - Deformed Bar (Non-Coat.) - 300MPa<Fy≤400MPa | - KS D 3504 SD400 OR ASTM A615 GRADE 60 | A03-11 | TON
A03AE052-00001 |  | Concrete Temperature Monitoring | - Including Themo Coupler, Monitoring & Record Acc. To Approved MS |  | A03-10 | SET
A03AE053-00001 |  | Steel Casing for CEP | - Including Anchoring, Tar Epoxy Coating, Frame & Accessories, Weldings | - Steel Pipe: D1000mm x THK12t x L4000mm Steel Plate: W1200mm x L1200mm x THK16t | A03-09 | EA
Superstructure Work
A03AF032-00007 |  | Structural Concrete | - Cement Type-1 - 25MPa < F'c (Cylinder Strength) ≤ 30MPa | - f'c = 28MPa, W/CONSTRUCTION JOINT | A03-05 | M3
A03AF032-00010 |  | Structural Concrete | - Cement Type-1 - 20MPa < F'c (Cylinder Strength) ≤ 25MPa | - f'c=24MPa, W/CONSTRUCTION JOINT | A03-03 | M3
A03AF036-00001 |  | Form Work (1 time in use) | - Flat Form - Dressed Lumber, Plywood or Steel Form(Wood Planks are not Allowed) incl. Chamfer | - FAIR FACED FORM FOR ABOVE GROUND | A03-06 | M2
A03AF037-00003 |  | Rebar Work | - Deformed Bar (Non-Coat.) - 300MPa<Fy≤400MPa | - KS D 3504 SD400 OR ASTM A615 GRADE 60 | A03-11 | TON
A03AF041-00001 |  | Expansion Joint (w/ Galvanized Steel Cover) | - w/ Flexible Joint Filler, Sealant, Galv. Steel Cover w/ Galv. Steel Angle, Fixing Accessories | - THK=25mm | A03-12 | M
A03AF044-00001 | A | Isolation Joint (Separation Joint) | - w/ Flexible Joint Filler, Sealant | - THK=50mm , ISOLATION JOINT | A03-13 | M
A03AF044-00001 | B | Isolation Joint (Separation Joint) | - w/ Flexible Joint Filler, Sealant | - THK=12mm , SEPARATION JOINT | A03-13-1 | M
A03AF045-00001 |  | Control Joint | - w/ Joint Sealant, Backstop | - Saw Cut: W6mm x D6mm | A03-14 | M
Concrete Protective Coating (U/G)
A03AH056-00001 |  | Bitumen/Bituminous/Asphalt Coating |  | - FOR UNDERGROUND CONCRETE PROTECTION | A03-15 | M2
Finishing Work
Masonry Work
A04AL069-00002 |  | Reinforced Concrete Block | - w/ All Reinf.(Lath, Steel Tie, Anchor Bar, Mortar, ETC.), Filler, Sealant, Lintel/Sill for Opening, ETC. - 100mm<THK≤200mm | - THK=150mm | A04-01 | M2
A04AL076-00008 |  | Insulation | - Glass Wool (Fiberglass) - Minimum Density of 50 kg/m3 - 100mm≤THK | - THK=135mm | A04-02 | M2
A04AL076-00012 | A | Insulation | - Polystyrene (Extruded Polystyrene(XPS) or Expanded Polystyrene(EPS)) - Minimum Density of 25 kg/m3 - 100mm≤THK | - THK=110mm - RIGID INSULATION FOR UNDER GROUND | A04-03 | M2
A04AL076-00012 | B | Insulation | - Polystyrene (Extruded Polystyrene(XPS) or Expanded Polystyrene(EPS)) - Minimum Density of 25 kg/m3 - 100mm≤THK | - THK=100mm - SOUND INSULATION & ABSORPTION | A04-04 | M2
Painting Work
A04AM077-00001 |  | External Wall Painting | - Acrylic Emulsion Paint |  | A04-05 | M2
A04AM078-00001 |  | Internal Wall Painting | - Acrylic Emulsion Paint |  | A04-06 | M2
A04AM078-00002 | B | Internal Wall Painting | - Water Emulsion Paint | - VINYL PAINT | A04-19 | M2
A04AM078-00005 |  | Internal Wall Painting | - Epoxy Paint |  | A04-09 | M2
A04AM078-00009 |  | Internal Wall Painting | - Chemical Resistant Paint |  | A04-20 | M2
A04AM079-00001 |  | Ceiling Painting | - Acrylic Emulsion Paint |  | A04-06 | M2
A04AM079-00002 |  | Ceiling Painting | - Water Emulsion Paint | - VINYL PAINT | A04-19 | M2
A04AM080-00003 |  | Floor Painting | - Acid/Alkaline Resistant Paint |  | A04-15 | M2
A04AM080-00005 |  | Floor Painting | - Anti-Dust Paint | - UNDER RAISED FLOOR | A04-12 | M2
A04AM080-00006 |  | Floor Painting | - Epoxy Paint |  | A04-10 | M2
A04AM080-00011 |  | Floor Painting | - Chemical Resistant Paint | - ANTI-ALKARI | A04-21 | M2
A04AM081-00006 |  | Skirt Painting | - Acid/Alkaline Resistant Paint - 200mm≤H | - H=300mm | A04-16 | M
A04AM081-00007 |  | Skirt Painting | - Epoxy Paint - H<150mm | - H=100mm | A04-11 | M
A04AM081-00009 |  | Skirt Painting | - Epoxy Paint - 200mm≤H | - H=200mm , ANTI-DUST EPOXY PAINT | A04-13 | M
Tile Work
A04AN082-00002 |  | Wall Tile | - Glazed Ceramic Tile - w/ Mortar Bond Coat or Adhesive | - THK 6mm | A04-22 | M2
A04AN083-00001 |  | Floor Tile | - Ceramic Tile - Non-Slip Type, w/ Mortar Bond Coat or Adhesive | - THK 7mm | A04-23 | M2
A04AN083-00004 | A | Floor Tile | - Vinyl Tile - w/ Mortar Bond Coat or Adhesive | - THK 3mm, HEAVY DUTY P.V.C TILE (DECO TILE) | A04-24 | M2
A04AN083-00004 | B | Floor Tile | - Vinyl Tile - w/ Mortar Bond Coat or Adhesive | - THK 3mm, WOOD TILE | A04-25 | M2
A04AN083-00011 |  | Floor Tile | - Porcelain Tile - Non-Slip Type, w/ Mortar Bond Coat or Adhesive | - THK MIN.9mm, POLISHING TILE | A04-28 | M2
A04AN084-00013 |  | Skirt Tile | - Vinyl Tile - w/ Mortar Bond Coat or Adhesive - H<150mm | - H=100mm | A04-26 | M
Waterproofing Work
A04AP085-00001 | A | Liquid Waterproofing | - for Internal Floor Area - Min. 2 Coats |  | A04-29 | M2
A04AP085-00001 | B | Liquid Waterproofing | - for Internal Floor Area - Min. 2 Coats | POLYURETHANE WATERPROOFING COATING -바탕 포함 - for Shower room |  | M2
A04AP085-00002 | A | Liquid Waterproofing | - for Internal Wall Area - Min. 2 Coats | H=1500 | A04-29 | M2
A04AP085-00002 | B | Liquid Waterproofing | - for Internal Wall Area - Min. 2 Coats | POLYURETHANE WATERPROOFING COATING -바탕 포함 - H=2000 - for Shower room |  | M2
Roof Work
A04AQ088-00004 |  | Roof Insulation | - Rigid Extruded Polystyrene Foam Insulation - 100mm≤THK | - THK=220mm | A04-32 | M2
A04AQ089-00001 |  | Protective Concrete w/ Steel Trowel Finish |  | - W/ TROWELING, W/ WIREMESH | A04-33 | M3
A04AQ310-00001 |  | Waterproofing Membrane | - EPDM(or Equivalent) - w/ Accessories | - SKYPANEL ROOFING SYSTEM - FOR ROOF AREA ONLY | A04-34 | M2
Door & Window Work
A04AR099-00001 |  | Steel Door w/ Steel Frame (UoM: EA) | - Fire Protective Rating: N/A, Single Door - w/ Hardware & Accessories | - W x H=1000mm x 2100mm | A04-35 | EA
A04AR099-00002 | A | Steel Door w/ Steel Frame (UoM: EA) | - Fire Protective Rating: N/A, Double Door - w/ Hardware & Accessories | - W x H=2000mm x 2100mm | A04-35 | EA
A04AR099-00002 | B | Steel Door w/ Steel Frame (UoM: EA) | - Fire Protective Rating: N/A, Double Door - w/ Hardware & Accessories | - W x H=2500mm x 3000mm | A04-35 | EA
A04AR103-00001 |  | Steel Door w/ Steel Frame & Panic Bar (UoM: EA) | - Fire Protective Rating: N/A, Single Door - w/ Hardware & Accessories | - W x H=1000mm x 2100mm | A04-35-1 | EA
A04AR103-00002 |  | Steel Door w/ Steel Frame & Panic Bar (UoM: EA) | - Fire Protective Rating: N/A, Double Door - w/ Hardware & Accessories | - W x H=2000mm x 2100mm | A04-35-1 | EA
A04AR103-00005 |  | Steel Door w/ Steel Frame & Panic Bar (UoM: EA) | - Fire Protective Rating: 1-hr, Single Door - w/ Hardware & Accessories | - W x H=1000mm x 2100mm | A04-36-1 | EA
A04AR103-00006 |  | Steel Door w/ Steel Frame & Panic Bar (UoM: EA) | - Fire Protective Rating: 1-hr, Double Door - w/ Hardware & Accessories | - W x H=2000mm x 2100mm | A04-36-1 | EA
A04AR119-00001 |  | Glass Door w/ SST Frame (UoM: EA) | - Single Door - w/ Hardware & Accessories | - W x H=1000mm x 2100mm | A04-37 | EA
A04AR119-00002 |  | Glass Door w/ SST Frame (UoM: EA) | - Double Door - w/ Hardware & Accessories | - W x H=2500mm x 3000mm | A04-37 | EA
A04AR127-00001 |  | Steel Roll Up Door w/ Steel Frame (UoM: EA) | - Fire Protective Rating: N/A, Motorized Type - w/ Hardware & Accessories | - W x H=7000mm x 5000mm | A04-38 | EA
A04AR135-00001 |  | Aluminum Sliding Door w/ Aluminum Frame (UoM: EA) | - Fire Protective Rating: N/A, Motorized Type - w/ Hardware & Accessories | - W x H=1000mm x 2100mm | A04-39 | EA
A04AR151-00001 |  | Master Key System | - Three Levels Master Key - w/ Accessories (Key Box, Key Tag and ETC) |  | A04-40 | SET
A04AR159-00001 | A | Aluminum Window (UoM: EA) | - Fire Protective Rating: N/A - w/ Hardware & Accessories | - W x H=4000mm x 1200mm - DOUBLE GLASS W/HARDWARE (기밀성 1등급) | A04-41 | EA
A04AR159-00001 | B | Aluminum Window (UoM: EA) | - Fire Protective Rating: N/A - w/ Hardware & Accessories | - W x H=2400mm x 1800mm - DOUBLE GLASS W/HARDWARE (기밀성 1등급) | A04-41 | EA
A04AR159-00001 | C | Aluminum Window (UoM: EA) | - Fire Protective Rating: N/A - w/ Hardware & Accessories | - W x H=1200mm x 1800mm - DOUBLE GLASS W/HARDWARE (기밀성 1등급) | A04-41 | EA
A04AR159-00001 | D | Aluminum Window (UoM: EA) | - Fire Protective Rating: N/A - w/ Hardware & Accessories | - W x H=1000mm x 600mm - DOUBLE GLASS W/HARDWARE (기밀성 1등급) | A04-41 | EA
A04AR164-00001 | A | Louver (UoM: EA) | - Aluminum - w/ Hardware & Accessories | - W x H= 4000mm x 1000mm | A04-42 | EA
A04AR164-00001 | B | Louver (UoM: EA) | - Aluminum - w/ Hardware & Accessories | - W x H=1000mm x 500mm | A04-42 | EA
Exterior/Interior Finish Work
A04AS168-00003 |  | Screed | - w/o Welded Wire Fabric - 75mm≤THK | - THK=110mm | A04-27 | M2
A04AS170-00001 |  | Carpet Tile |  | - THK 7mm | A04-27-1 | M2
A04AS173-00001 |  | Steel Trowel Finish |  | - FOR CONCRETE SURFACE (FLOOR) | A04-43 | M2
A04AS174-00002 |  | Raised Floor | - Top Finish: Anti-Static Vinyl Tile - 600mm x 600mm / 600mm<H≤1000mm | - H=700mm | A04-44 | M2
A04AS177-00004 |  | Gypsumboard Partition Wall (Fixed Type) | - Fire Protective Rating: N/A, 2-Layer Gypsum Boards to One Side - w/o Insulation - Including Supporting Frame(Stud) & Accessories - 1-Layer Gypsumboard THK=9.5mm | - WALL, ONE SIDE - 2-LAYERS GYPSUMBOARD | A04-45 | M2
A04AS177-00019 |  | Gypsumboard Partition Wall (Fixed Type) | - Fire Protective Rating: N/A, 2-Layer Gypsum Boards to Both Sides - Glass Wool (Fiberglass) - Including Supporting Frame(Stud) & Accessories - 1-Layer Gypsumboard THK=9.5mm | - WALL, BOTH SIDE - INSULATION THK=50mm - 2-LAYERS GYPSUMBOARD | A04-46 | M2
A04AS179-00001 |  | Cubicle Partition | - for Toilet - w/ Accessories | - H=2300mm | A04-47 | M
A04AS187-00001 |  | Gypsum Plaster Board Ceiling System | - M-Bar System - w/ Hot-Dip Galvanized Suspension System & Accessories(Moldings, Ceiling Access Door/Hatch, Curtain Boxes and etc.) - 1-Layer Gypsumboard THK=12.5mm | - CEILING - 2-LAYERS GYPSUM PLASTER BOARD (THK. 9.5mm x 2PLIES) | A04-47-1 | M2
A04AS190-00001 |  | Acoustic Tiled Ceiling System | - M-Bar System - w/ Hot-Dip Galvanized Suspension System & Accessories(Moldings, Ceiling Access Door/Hatch, Curtain Boxes and etc.) | - ACOUSTIC MINERAL BOARD CEILING | A04-48 | M2
A04AS191-00001 |  | Moisture Resistant Tiled Ceiling System | - M-Bar System - w/ Hot-Dip Galvanized Suspension System & Accessories(Moldings, Ceiling Access Door/Hatch, Curtain Boxes and etc.) | - SMC PANEL CEILING | A04-49 | M2
Plastering Work
A04AT198-00001 | A | Plastering | - for External Masonry Wall | - THK=21mm | A04-50 | M2
A04AT198-00001 | B | Plastering | - for External Masonry Wall | - DRYVIT | A04-51 | M2
A04AT198-00002 |  | Plastering | - for Internal Masonry Wall | - THK=18mm | A04-52 | M2
A04AT198-00003 |  | Plastering | - for Exposed Conc. Surface | - THK=30mm | A04-52-1 | M2
Misc. Work
A04AV205-00009 |  | Roof Drain (for Building) | - Stainless Steel Type - DIA=100mm |  | A04-53 | EA
A04AV205-00010 |  | Roof Drain (for Building) | - Stainless Steel Type - DIA=150mm |  | A04-53 | EA
A04AV206-00009 |  | Roof Drain (for Shelter) | - Stainless Steel Type - DIA=100mm |  | A04-53 | EA
A04AV207-00009 |  | Downspout | - Stainless Steel Type - w/ Fixing Accessories - DIA=100mm |  | A04-54 | M
A04AV207-00010 |  | Downspout | - Stainless Steel Type - w/ Fixing Accessories - DIA=150mm |  | A04-54 | M
A04AV208-00003 |  | Water Collection Box | - Stainless Steel Type - w/ Fixing Accessories |  | A04-55 | EA
A04AV209-00001 |  | Splash Block | - Precast Concrete Block Type |  | A04-56 | EA
A04AV212-00001 |  | Chain Link Fence (Fixed Type) | - Self-Standing Type w/ Steel Frame - w/ Fixing Accessories - 1500mm≤H<2000mm | - H=1600mm | A04-57 | M
A04AV212-00002 |  | Chain Link Fence (Fixed Type) | - Self-Standing Type w/ Steel Frame - w/ Fixing Accessories - 2000mm≤H<2500mm | - H=2400mm | A04-57 | M
A04AV214-00002 |  | Chain Link Fence Single Gate | - Frame Type, Single - w/ Frame, Fixing Accessories | - W x H=1500mm x 1600 or 2400mm | A04-58 | EA
A04AV215-00002 |  | Chain Link Fence Double Gate | - Frame Type, Double - w/ Frame, Fixing Accessories | - W x H=3000mm x 1600 or 2400mm | A04-58 | EA
A04AV219-00002 |  | Steel Bollard | - Removable Type - w/ Paint, Concrete Fill | - DIA=150mm / H=1000mm | A04-59 | EA
A04AV221-00001 |  | Room Signage |  |  | A04-60 | SET
A04AV225-00001 | A | Mirror w/ Shelf | - Stainless Steel, Surface Mounted Type | - W x H=750mm x 800mm | A04-61 | EA
A04AV225-00001 | B | Mirror w/ Shelf | - Stainless Steel, Surface Mounted Type | - W x H=1500mm x 800mm | A04-61 | EA
A04AV227-00001 |  | Soap Dish | - Stainless Steel, Surface Mounted Type |  | A04-62 | EA
A04AV228-00001 |  | Towel Bar | - Stainless Steel, Surface Mounted Type |  | A04-63 | EA
A04AV231-00001 |  | Paper Tower Dispenser | - Stainless Steel, Surface Mounted Type |  | A04-64 | EA
A04AV240-00001 |  | Urinal Partition |  |  | A04-65 | EA
A04AV244-00001 |  | Marble Washstand | - w/ Mortar Bond Coat or Adhesive | - THK=( )mm / W=( )mm | A04-66 | M
Furniture Installation
A04BA291-00001 |  | Washing Unit |  |  |  | LOT
Cladding Work
-
A05ZZ199-00006 |  | Single Metal Sheet | - Corrugated Galvanized Steel Sheet - for Roof - w/ Accessories, Flashing | - THK=0.6mm | A05-01 | M2
A05ZZ200-00027 |  | Sandwich Panel | - Corrugated Galvanized Steel Sheet Sandwich Panel, Fire Protective Rating: N/A - Glass Wool (Fiberglass) - for Wall - w/ Accessories, Flashing - 100mm≤THK<150mm | - THK=135mm (준불연) | A05-02 | M2
A05ZZ200-00032 |  | Sandwich Panel | - Corrugated Galvanized Steel Sheet Sandwich Panel, Fire Protective Rating: N/A - Glass Wool (Fiberglass) - for Roof - w/ Accessories, Flashing - 150mm≤THK | - THK=220mm (준불연) | A05-03 | M2
A05ZZ204-00003 | A | Gutter | - Aluminum Eave Gutter w/ Coating - w/ Accessories | - THK=1.2mm / W250mm x H300m | A05-04 | M
A05ZZ204-00003 | B | Gutter | - Aluminum Eave Gutter w/ Coating - w/ Accessories | - THK=1.2mm / W200mm x H200mm | A05-04 | M
Main Steel Structure Fabrication Work
Shelter/Building
S01AA001-00001 |  | Heavy Steel - Standard (Weight≥90KG/M) |  | - KS D 3503 SS275 or ASTM A36 | S01-01 | TON
S01AA002-00001 |  | Medium Steel - Standard (90KG/M>Weight≥30KG/M) |  | - KS D 3503 SS275 or ASTM A36 | S01-01 | TON
S01AA003-00001 |  | Light Steel - Standard (30KG/M>Weight) |  | - KS D 3503 SS275 or ASTM A36 | S01-01 | TON
S01AA007-00001 |  | Girth & Purlin |  | - KS D 3530 SSC275 or ASTM A36 | S01-03 | TON
S01AA009-00001 |  | Plates - Gusset, Stiffener, ETC |  | - KS D 3503 SS275 or ASTM A36 | S01-01 | TON
S01AA010-00001 |  | Steel Painting/Coating | - for Non-Fireproofed Steel Surface, Surface Preparation, Primer, Second & Final Coat | - STEEL PAINTING | S01-04 | M2
Miscellaneous Steel Fabrication Work
Shelter/Building
S02AA017-00001 |  | Checkered/Flooring Plate |  | - GALVANIZED | S02-01 | M2
S02AA018-00001 |  | Grating |  | - THK=32mm, GALVANIZED | S02-02 | M2
S02AA020-00001 |  | Steel Handrails |  | - W/ PAINT | S02-03 | M
S02AA022-00001 |  | Stainless Steel Handrail |  |  | S02-04 | M
S02AA023-00001 |  | Steel Ladder | - With Cage | - 10.0m < H | S02-05 | M
S02AA025-00005 |  | Anchor Bolt (Straight Type) | - M24 | - KS B 1016 or ASTM F-1554 GRADE 36, 55 | S02-08 | EA
S02AA025-00008 |  | Anchor Bolt (Straight Type) | - M36 | - KS B 1016 or ASTM F-1554 GRADE 36, 55 | S02-08 | EA
Main Steel Structure Erection Work
Shelter/Building
S03AA007-00001 |  | Girth & Purlin |  | - KS D 3530 SSC275 or ASTM A36 | S03-01 | TON
S03AA027-00001 |  | Heavy Steel (Weight≥90KG/M) |  | - KS D 3503 SS275 or ASTM A36 | S03-02 | TON
S03AA028-00001 |  | Medium Steel (90KG/M>Weight≥30KG/M) |  | - KS D 3503 SS275 or ASTM A36 | S03-02 | TON
S03AA029-00001 |  | Light Steel (30KG/M>Weight) |  | - KS D 3503 SS275 or ASTM A36 | S03-02 | TON
S03AA030-00001 |  | Non-Shrink Grouting |  |  | S03-03 | M3
Miscellaneous Steel Erection Work
Shelter/Building
S04AA017-00001 |  | Checkered/Flooring Plate |  | - GALVANIZED | S04-01 | M2
S04AA018-00001 |  | Grating |  | - THK=32mm, GALVANIZED | S04-02 | M2
S04AA020-00001 |  | Steel Handrails |  | - W/ PAINT | S04-03 | M
S04AA022-00001 |  | Stainless Steel Handrail |  |  | S04-04 | M
S04AA023-00001 |  | Steel Ladder | - With Cage | - 10.0m ≤ H | S04-05 | M