## Sheet1
0 ROOM NAME | 1 DEPARTMENT | 2 PROGRAM AREA | 3 QUANTITY | 4 TOTAL AREA | 5 HEIGHT | 7 LENGTH | 8 WIDTH | 6 COLOR(Ref. Color Selection Sheet For Correct Name) | lev
Switchgear Room | EL | 58.5 | 1 | 58.5 | 6000 | 9000 | 6500 | Blue | GF
Battery Room | EL | 108 | 1 | 108 | 6000 | 12000 | 9000 | Blue | GF
Stairway | AR | 36 | 1 | 36 | 6000 | 9000 | 4000 | Lavender | GF
Cable Room | EL | 924 | 1 | 924 | 4000 | 44000 | 21000 | Blue | B1
Stairway | EL | 36 | 1 | 36 | 4000 | 9000 | 4000 | Blue | B1
Electronic Room | CI | 431.52 | 1 | 431.52 | 6000 | 23200 | 18600 | Lime | 1st
Electrical Room | EL | 238.08 | 1 | 238.08 | 6000 | 18600 | 12800 | Blue | 1st
Corridor | AR | 86.4 | 1 | 86.4 | 6000 | 36000 | 2400 | Lavender | 1st
Stairway | AR | 36 | 1 | 36 | 6000 | 9000 | 4000 | Lavender | 1st
Duct Shaft | HV | 16.2 | 1 | 16.2 | 6000 | 6000 | 2700 | Pink | 1st
Pipe Shaft | HV | 2.5 | 1 | 2.5 | 6000 | 2500 | 1000 | Pink | 1st
Central Control Room | CI | 288 | 1 | 288 | 6000 | 32000 | 9000 | Lime | 2nd
Engineer Room | CI | 120 | 1 | 120 | 6000 | 12500 | 9600 | Lime | 2nd
Document Room | AR | 48 | 1 | 48 | 6000 | 9600 | 5000 | Lavender | 2nd
Fire Gas Room | SF | 0 | 1 | 0 | 6000 | 1000 | 1000 | Cyan | 2nd
Kitch & Lunch Room | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Toilet (M) | AR | 72 | 1 | 72 | 6000 | 12000 | 6000 | Lavender | 2nd
Toilet (F) | AR | 72 | 1 | 72 | 6000 | 12000 | 6000 | Lavender | 2nd
Corridor | AR | 0 | 1 | 0 | 6000 | 1000 | 2000 | Lavender | 2nd
Stairway | AR | 38 | 1 | 38 | 6000 | 9500 | 4000 | Lavender | 2nd
Shift Office Room | AR | 43.2 | 1 | 43.2 | 6000 | 9600 | 4500 | Lavender | 2nd
LOTO Office Room | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Shower Room (F) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Locker Room (F) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Shower Room (M) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Locker Room (M) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd
Duct Shaft | HV | 16.2 | 1 | 16.2 | 6000 | 6000 | 2700 | Pink | 2nd
Pipe Shaft | HV | 2.5 | 1 | 2.5 | 6000 | 2500 | 1000 | Pink | 2nd

## Sheet2
| Space ID |  | Space Name |  |  |  |  | Area (m2) | Adjacent Spaces | Deparment | Deparment ID | Adjacent Departments |  |  |  | Interior Finish | Exterior Finish
Floor | Room ID | Room KKS ID | Room Name | Width (m) | Length (m) | Height (m) | C.H (m) | Area (m2) | Adjacent Room | Dicipline | Dicipline ID | Adjacent Dicipline | Colour | Occupancy | Mass |  |  | Dicipline | Dicipline ID | Colour
B1 |  |  |  | 21 | 44 | 4 |  | 924 | [9 empty] | PPR | 0 | Orange
| 0 | UCA01R0001 | Cable Room | 21 | 44 | 4 |  | 924 |  | EL | 1 |  | 0 | Industrial Low Hazard | B0 |  |  | EL | 1 | Yellow
| 1 | UCA01R0002 | Stairway | 4 | 9 | 4 |  | 36 |  | AR | 7 |  | 0 |  | B1 |  |  | CI | 2 | Lime
[18 empty] | PI | 3
GF |  |  |  | 21 | 44 | 6 |  | 924 | [9 empty] | EN | 4
| 0 | UCA02R0001 | Switchgear Room | 6.5 | 9 | 6 |  | 58.5 | 1 | EL | 1 |  | 0 |  | 1F1 |  |  | MR | 5
| 1 | UCA02R0002 | Battery Room | 9 | 12 | 6 |  | 108 | 0 | EL | 1 |  | 0 |  | 1F2 |  |  | CV | 6
| 2 | UCA02R0003 | Stairway | 4 | 9 | 6 |  | 36 |  | AR | 7 |  | 0 |  | 1F2 |  |  | AR | 7 | Cyan
[18 empty] | HV | 8
1st |  |  |  | 21 | 44 | 6 |  | 924 | [9 empty] | SF | 9
| 0 | UCA03R0001 | Electronic Room | 18.6 | 23.2 | 6 |  | 431.52 | 1 | CI | 2 | 1 | 0 |  | 2F1
| 1 | UCA03R0002 | Electrical Room | 12.8 | 18.6 | 6 |  | 238.08 | 0 | EL | 1 | 2 | 0 |  | 2F2
| 2 | UCA03R0003 | Corridor | 2.4 | 36 | 6 | 2.7 | 86.4 |  | AR | 7 |  | 0 |  | 2F3
| 3 | UCA03R0004 | Stairway | 4 | 9 | 6 |  | 36 | 4,5 | AR | 7 |  | 0 |  | 2F4
| 4 |  | Duct Shaft | 2.7 | 6 | 6 |  | 16.2 | 3,5 | HV | 8 |  |  |  | 2F5
| 5 |  | Pipe Shaft | 1 | 2.5 | 6 |  | 2.5 | 3,4 | HV | 8 |  |  |  | 2F6
2nd |  |  |  | 21 | 44 | 6 |  | 924
| 0 | UCA04R0001 | Central Control Room | 9 | 32 | 6 | 3.4 | 288 | 1 | CI | 2 |  | 0 |  | 3F1
| 1 | UCA04R0002 | Engineer Room | 9.6 | 12.5 | 6 | 3 | 120 | 0 | CI | 2 |  | 0 |  | 3F2
| 2 | UCA04R0003 | Document Room | 5 | 9.6 | 6 | 2.7 | 48 |  | AR | 7 |  | 0 |  | 3F3
| 3 | UCA04R0004 | Fire Gas Room |  |  | 6 |  | 0 |  | SF | 9 |  | 0 |  | 3F4
| 4 | UCA04R0006 | Kitch & Lunch Room | 3.5 | 9 | 6 | 2.7 | 31.5 |  | AR | 7 |  | 0 |  | 3F5
| 5 | UCA04R0007 | Toilet (M) | 6 | 12 | 6 | 2.7 | 72 | 6,11,12,13,14 | AR | 7 |  | 0 |  | 3F6
| 6 | UCA04R0008 | Toilet (F) | 6 | 12 | 6 | 2.7 | 72 | 5,11,12,13,14 | AR | 7 |  | 0 |  | 3F7
| 7 | UCA04R0009 | Corridor | 2 |  | 6 | 2.7 | 0 |  | AR | 7 |  |  |  | 3F8
| 8 | UCA04R0010 | Stairway | 4 | 9.5 | 6 |  | 38 | 15,16 | AR | 7 |  |  |  | 3F9
| 9 | UCA04R0011 | Shift Office Room | 4.5 | 9.6 | 6 | 2.7 | 43.2 |  | AR | 7 |  | 0 |  | 3F10
| 10 | UCA04R0012 | LOTO Office Room | 3.5 | 9 | 6 | 2.7 | 31.5 |  | AR | 7 |  |  |  | 3F11
| 11 | UCA04R0013 | Shower Room (F) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,12,13,14 | AR | 7 |  |  |  | 3F12
| 12 | UCA04R0014 | Locker Room (F) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,13,14 | AR | 7 |  |  |  | 3F13
| 13 | UCA04R0015 | Shower Room (M) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,12,14 | AR | 7 |  |  |  | 3F14
| 14 | UCA04R0016 | Locker Room (M) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,12,13 | AR | 7 |  |  |  | 3F15
| 15 |  | Duct Shaft | 2.7 | 6 | 6 |  | 16.2 | 8,16 | HV | 8 |  |  |  | 3F16
| 16 |  | Pipe Shaft | 1 | 2.5 | 6 |  | 2.5 | 8,15 | HV | 8 |  |  |  | 3F17
Exterior Finish 산출용 면적 ?

## COLOR SELECTION
Gray
ShepleyBlue
Pink
Magenta
Purple
Lavender
Blue
Cyan
Teal
Green
Lime
Yellow
Orange
Red
White