## htmlResult_10_57_26
| Revit Only | Both Exist
1.Floors
H_FL_AMG_Grating_T32
H_FL_ACS_STG Top Slab_T2000
H_FL_ACS_RC Slab_T150_Steel Deck_Hardener_Epoxy
2.Roofs
| Sloped Glazing | H_RF_AMCR_Roof Panel_Steel_Mineral Wool_T200
3.Walls
| n/a | H_WA_ACP_RC Pit Wall_UG_T390
| n/a | H_WA_AMCW_Wall Panel_Steel_Mineral Wool_T120
| E241-01 콘크리트_100 | H_WA_AMMW_Ext. Cavity Wall_Block_100_100_200
E336-02 THK24 로이복층유리+ 80x200 노출바
THK.75 PANEL
H_WA_ACP_RC Pit Wall_UG_T150
4.St Fdn
| FT113-900x300 | H_SF_ACP_Pit Slab T500
| H_SFRH_2400x5600x200 | H_SF_ACF_W4000xL22440xT1100_Protection
| FTS801_Haunch_GS | H_SF_ACE_Mass_T2500
| FTS211_THICKENED SLAB_FOR EF1 | H_SF_API_Steel Pile D508x12t_L10m
| FTS211_EF_EF2 | H_SF_ACS_SOG T200
| FTS211_EF_EF1 | H_SF_ACF_W3500xL6720xT1100_Protection
| H_SFRH_2400x3000x200 | H_SF_ACF_W4000xL4000xT1100_Protection
| FTS221_THICKENED SLAB_FOR EF2 | H_SF_ACF_W4000xL8220xT1100_Protection
| H_SF_ACP_Pit Slab T150 | H_SF_ACF_W3500xL8220xT1100_Protection
H_SF_ACF_Lean_T100
H_SF_ACF_W4000xL6720xT1100_Protection
5.St Col
H_SC_ACC_PED_W1200xL1340
H_SC_ACC_PED_W1200xL800
H_SC_ACC_PED_W800xL1340
H_SC_ACC_PED_W800xL800
H_SC_ACC_PED_W900xL900
H_SC_ACC_W900xL900
H_SC_ASC_H-150x150x7x10
H_SC_ASC_H-250x250x9x14
H_SC_ASC_H-300x300x10x15
H_SC_ASC_H-400x200x8x13
H_SC_ASC_H-488x300x11x18
H_SC_ASC_H-588x300x12x20
H_SC_ASC_H-700x300x13x24
6.St Framing
| H_SB_ASB_LC-150x75x25x3.2 | H_SB_ACB_B300xH600
H_SB_ACB_TG_B400xH600
H_SB_ASB_CT-150x150x6.5x9
H_SB_ASB_H-194x150x6x9
H_SB_ASB_H-200x200x8x12
H_SB_ASB_H-250x125x6x9
H_SB_ASB_H-300x150x6.5x9
H_SB_ASB_H-300x300x10x15
H_SB_ASB_H-350x175x7x11
H_SB_ASB_H-340x250x9x14
H_SB_ASB_H-400x200x8x13
H_SB_ASB_H-390x300x10x16
H_SB_ASB_H-482x300x11x15
H_SB_ASB_H-488x300x11x18
H_SB_ASB_H-800x300x14x26
H_SB_ASB_SHS-150x150x6
7.Ceilings
CE610-Acrylic Emulsion Paint
CE620-Water Emulsion Paint
CE741_Acoustic Tiled Ceiling System-600x600x9t_T-bar
CE761_Moisture Resistant Tiled Ceiling System_M-bar
Generic
FCC31_Fiber Board 600x600_M bar
AF_텍스_600x1200
8.Doors
| DR101_1015x2134 | H_DR_AMD_Steel Rollup Shutter_W5000xH6000
| H_DR_AMD_Steel Rollup Shutter_W4200xH4200 | H_DR_AMD_Double Door_Ext_Steel_2100x2100_Panic Bar
9.Windows
| WD311-Steel Double Glazing_1200x1200mm | H_WD_AMW_AL Window_DG_W4000xH1000_Fixed_1H1V
WD313-Aluminum_Double Glazing_1200x1200mm
WD315-PVC_Double Glazing_1200x1200mm
WD511-Steel_Double Glazing_ 1200x1200mm
WD513-Aluminum_Double Glazing_1200x1200mm
WD515-PVC_Double Glazing_1200x1200mm
WD313-Aluminum_Double Glazing_2400x1200mm 2
WD313-Aluminum_Double Glazing_1200x1200mm 2
WD513-Aluminum_Double Glazing_600x600mm
WD513-Aluminum_Double Glazing(/w top hung)_1200x1200mm
360x360
150x150
250x150
K-LINE ENSEMBLE COMPOSE NEUF KLT-8Z-4H2V
Fixed window(Top) + 2 top hung window(Bottom)_single
4000X1000
STEEL_LOUVER
10.Stairs
None
Concrete Stair_Indoor
Precast Stair
Steel Stair with Grating Tread_Indoor
Concrete Stair_Outdoor
Steel Stair with Grating Tread_Outdoor
콘크리트 계단
SS101_Steel Stair_ST1
11.Railings
H_RL_AMH_Steel Handrail_H1100
13.Generic
| 600mm Arial | H_GM_AMM_Grouting_T50
Non-Caged Ladder-Type 1
Type 1
Dike_Thk200
LF02ZCK001_DOG HOUSE_RC_rAA
DP101_DOWNSPOUT_ROUND_D100
Construction_Roof-Accessories_Weland-Stål-AB_Cat-ladder-with-bracket-set-700-1000mm
Construction_Roof-Accessories_Weland-Stål-AB_Cat-ladder-with-bracket-set-150mm
Default
FLASHING
FLASHING
거터2
거터2
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
그라우트
CANOPY
플레이트
플레이트
그라우트
그라우트
그라우트
그라우트
Standard