## Building list(Rev.1_Seq.3)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.1_Seq.3 | 2022-02-17
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
<Base : On-Shore Substation>
1 |  | 154kV/66kV GIS Building | RC | 1 | 1 | - |  | 42 | 30 | 10 | 1260 | 1260 | OHC 10ton |  |  |  |  | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
|  | (죽도 Island) |  |  |  | Ground Floor | 154kV GIS Room | 14 | 22.5 | 10 | 315 | [7 empty] | Cable Trench (BOF: GL-2.5m)
[6 empty] | Ground Floor | Fire Safety | 3 | 7.5 | 10 | 22.5 | [7 empty] | SIZE(FF, 10/20 : 5x4)
[6 empty] | Ground Floor | STR Room | 11 | 7.5 | 10 | 82.5
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-1 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-2 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 66kV GIS Room | 14 | 30 | 10 | 420 | [7 empty] | Cable Trench (BOF: GL-2.5m)
2 |  | Monitoring & GIS Control Building | RC | 1 | 1 | - |  | 14 | 27 | 3.5 | 378 | 378 | [5 empty] | 전기, 계장 | SIZE(EL, 10/20) | 육상 변전소 적용 Base case 시, Monitoring House (Island) 와 Switchyard&Control BLDG 통합 구성
|  | (죽도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 2x3)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
[6 empty] | Ground Floor | Electronic & Comm Room | 5 | 15 | 3.5 | 75 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25 | [7 empty] | Substation & Control Building 통합
3 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조 | O&M Port -> Yeonggwang-gun 변경 적용, 사업부 검토의견 반영 (220208)
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140 | [8 empty] | 기존 Yeonggwang-gun Bldg 삭제
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
4 |  | 154kV Switching Station | RC | 1 | 1 | - |  | 25 | 44 | 8 | 1100 | 1100 | OHC 10ton |  |  |  |  | 전기 | SIZE(EL, 10/26), KWC 요청사항 반영
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | 154kV GIS Room | 25 | 20 | 8 | 500 | [7 empty] | Cable Trench (BOF: GL-2.5m)
[6 empty] | Ground Floor | Reactor Room-1 | 25 | 12 | 8 | 300
[6 empty] | Ground Floor | Reactor Room-2 | 25 | 12 | 8 | 300
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조 | O&M Port -> Yeonggwang-gun 변경 적용, 사업부 검토의견 반영 (220208)
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망 | 기존 Yeonggwang-gun Bldg 삭제
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (죽도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
TOTAL | [11 empty] | 3710
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist
DELETED
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
2 |  | Substation & Control Building | RC | 1 | 1 | - |  | 10 | 20 | 3.5 | 200 | 200 | [5 empty] | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
[6 empty] | Ground Floor | Communication Room | 5 | 8 | 3.5 | 40 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control Room | 5 | 5 | 3.5 | 25 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control&Protection Panel Room | 5 | 15 | 3.5 | 75 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25
5 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
8 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
<Alternative : Off-Shore Substation>
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) : 토목해상자켓 상부 |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
2 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
3 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망

## Building list(Rev.1_Seq.2)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.1_Seq.2 | 2021-10-29
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
<Base : On-Shore Substation>
1 |  | 154kV/66kV GIS Building | RC | 1 | 1 | - |  | 42 | 30 | 10 | 1260 | 1260 | OHC 10ton |  |  |  |  | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
|  | (죽도 Island) |  |  |  | Ground Floor | 154kV GIS Room | 14 | 22.5 | 10 | 315 | [7 empty] | Cable Trench (BOF: GL-2.5m)
[6 empty] | Ground Floor | Fire Safety | 3 | 7.5 | 10 | 22.5 | [7 empty] | SIZE(FF, 10/20 : 5x4)
[6 empty] | Ground Floor | STR Room | 11 | 7.5 | 10 | 82.5
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-1 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-2 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 66kV GIS Room | 14 | 30 | 10 | 420 | [7 empty] | Cable Trench (BOF: GL-2.5m)
2 |  | Monitoring & GIS Control Building | RC | 1 | 1 | - |  | 14 | 27 | 3.5 | 378 | 378 | [5 empty] | 전기, 계장 | SIZE(EL, 10/20) | 육상 변전소 적용 Base case 시, Monitoring House (Island) 와 Switchyard&Control BLDG 통합 구성
|  | (죽도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 2x3)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
[6 empty] | Ground Floor | Electronic & Comm Room | 5 | 15 | 3.5 | 75 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25 | [7 empty] | Substation & Control Building 통합
3 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
4 |  | 154kV Switching Station | RC | 1 | 1 | - |  | 25 | 44 | 8 | 1100 | 1100 | OHC 10ton |  |  |  |  | 전기 | SIZE(EL, 10/26), KWC 요청사항 반영
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | 154kV GIS Room | 25 | 20 | 8 | 500 | [7 empty] | Cable Trench (BOF: GL-2.5m)
[6 empty] | Ground Floor | Reactor Room-1 | 25 | 12 | 8 | 300
[6 empty] | Ground Floor | Reactor Room-2 | 25 | 12 | 8 | 300
5 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (죽도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
8 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
<Alternative : Off-Shore Substation>
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) : 토목해상자켓 상부 |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
2 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
3 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
TOTAL | [11 empty] | 4034
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist
DELETED
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
2 |  | Substation & Control Building | RC | 1 | 1 | - |  | 10 | 20 | 3.5 | 200 | 200 | [5 empty] | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
[6 empty] | Ground Floor | Communication Room | 5 | 8 | 3.5 | 40 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control Room | 5 | 5 | 3.5 | 25 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control&Protection Panel Room | 5 | 15 | 3.5 | 75 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25

## Building list(Rev.1_Seq.1)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.1_Seq.1 | 2021-10-20
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
<Base : On-Shore Substation>
1 |  | 154kV/66kV GIS Building | RC | 1 | 1 | - |  | 42 | 30 | 10 | 1260 | 1260 | OHC 10ton |  |  |  |  | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
|  | (죽도 Island) |  |  |  | - |  | 42 | 30 | 10 | 1260
[6 empty] | Ground Floor | 154kV GIS Room | 14 | 22.5 | 10 | 315 | [7 empty] | Cable Trench (BOF: GL-3.1m)
[6 empty] | Ground Floor | Fire Safety | 3 | 7.5 | 10 | 22.5 | [7 empty] | SIZE(FF, 10/20 : 5x4)
[6 empty] | Ground Floor | STR Room | 11 | 7.5 | 10 | 82.5
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-1 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-2 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 66kV GIS Room | 14 | 30 | 10 | 420 | [7 empty] | Cable Trench (BOF: GL-3.1m)
2 |  | Monitoring & GIS Control Building | RC | 1 | 1 | - |  | 14 | 27 | 3.5 | 378 | 378 | [5 empty] | 전기, 계장 | SIZE(EL, 10/20) | 육상 변전소 적용 Base case 시, Monitoring House (Island) 와 Switchyard&Control BLDG 통합 구성
|  | (죽도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 2x3)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
[6 empty] | Ground Floor | Electronic & Comm Room | 5 | 15 | 3.5 | 75 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Substation & Control Building 통합
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25 | [7 empty] | Substation & Control Building 통합
3 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (죽도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
<Alternative : Off-Shore Substation>
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) : 토목해상자켓 상부 |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
2 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5 | [7 empty] | SIZE(FF, 10/20 : 3x3)
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
3 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27 | [7 empty] | SIZE(FF, 10/20 : 삭제)
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (안마도 Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
TOTAL | [11 empty] | 2934
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist
DELETED
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
2 |  | Substation & Control Building | RC | 1 | 1 | - |  | 10 | 20 | 3.5 | 200 | 200 | [5 empty] | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
[6 empty] | Ground Floor | Communication Room | 5 | 8 | 3.5 | 40 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control Room | 5 | 5 | 3.5 | 25 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control&Protection Panel Room | 5 | 15 | 3.5 | 75 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25

## Building list(Rev.1)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.1 | 2021-10-19
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
1 |  | Onshore Substation | RC | 1 | 1 | - |  | 42 | 30 | 10 | 1260 | 1260 | OHC 10ton |  |  |  |  | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
|  | (Base) |  |  |  | - |  | 42 | 30 | 10 | 1260
[6 empty] | Ground Floor | 154kV GIS Room | 14 | 22.5 | 10 | 315 | [7 empty] | Cable Trench (BOF: GL-3.1m)
[6 empty] | Ground Floor | STR Room | 14 | 7.5 | 10 | 105
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-1 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 154kV/66kV Transformer Room-2 | 14 | 15 | 10 | 210
[6 empty] | Ground Floor | 66kV GIS Room | 14 | 30 | 10 | 420 | [7 empty] | Cable Trench (BOF: GL-3.1m)
2 |  | Substation & Control Building | RC | 1 | 1 | - |  | 10 | 20 | 3.5 | 200 | 200 | [5 empty] | 전기, 계장 | SIZE(EL, 10/14) 전기분야 사업주 최종 발표자료 참조
[6 empty] | Ground Floor | Communication Room | 5 | 8 | 3.5 | 40 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control Room | 5 | 5 | 3.5 | 25 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | LV SWGR Room | 5 | 7 | 3.5 | 35 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Control&Protection Panel Room | 5 | 15 | 3.5 | 75 | [7 empty] | Cable Trench (BOF: GL-2.0m)
[6 empty] | Ground Floor | Battery Room | 5 | 5 | 3.5 | 25
3 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
8 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
<Alternative Building, Option>
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
TOTAL | [11 empty] | 2999
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist

## Building list(Rev.0_Seq.1)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.0_Seq.1 | 2021-10-05
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
2 |  | Monitoring House | RC | 1 | 1 | - |  | 27 | 27 | 3.5 | 729 | 729 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Control Room | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Marine Coordination Center | 5.5 | 7 | 3.5 | 38.5
[6 empty] | Ground Floor | Fire Safety | 3.5 | 7 | 3.5 | 24.5
[6 empty] | Ground Floor | Stores, Workshops, And Drying Rooms | 9 | 18 | 3.5 | 140
[6 empty] | Ground Floor | Open Space | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Dining Area | 4.5 | 9 | 3.5 | 40.5
[6 empty] | Ground Floor | Kitchen | 5 | 3.5 | 3.5 | 17.5 |  |  |  |  | O
[6 empty] | Ground Floor | Gym | 4 | 3.5 | 3.5 | 14
[6 empty] | Ground Floor | Locker(M) | 1.5 | 4 | 3.5 | 6
[6 empty] | Ground Floor | Toilet(M) | 2.5 | 4 | 3.5 | 10 |  |  | O
[6 empty] | Ground Floor | Shower(M) | 3 | 1.5 | 3.5 | 4.5 |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 3 | 2.5 | 3.5 | 7.5 |  |  | O | O
[6 empty] | Ground Floor | Lobby | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Corridor | 1.5 | 9 | 3.5 | 13.5
[6 empty] | Ground Floor | Corridor | 2 | 35 | 3.5 | 70
3 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Island) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 9 | 4.5 | 3.5 | 40.5
[6 empty] | Ground Floor | Dining Area & Common Area | 7 | 4.5 | 3.5 | 31.5
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Kitchen | 4 | 4 | 3.5 | 16 |  |  |  |  | O
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
4 |  | Monitoring House | RC | 1 | 1 | - |  | 9 | 27 | 3.5 | 243 | 243 | [5 empty] | 전기, 계장 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Control Room | 9 | 9 | 3.5 | 81
[6 empty] | Ground Floor | Office | 4.5 | 9 | 3.5 | 51.75
[6 empty] | Ground Floor | Meeting Room | 4.5 | 4.5 | 3.5 | 20.25
[6 empty] | Ground Floor | Lobby | 2 | 4.5 | 3.5 | 9
[6 empty] | Ground Floor | Common Area&Pantry | 4 | 4 | 3.5 | 16
[6 empty] | Ground Floor | Toilet&Shower&Locker(F) | 4 | 2 | 3.5 | 8 |  |  | O | O
[6 empty] | Ground Floor | Toilet&Shower(M) | 4 | 3 | 3.5 | 12 |  |  | O | O
[6 empty] | Ground Floor | Locker(M) | 2 | 3 | 3.5 | 6
[6 empty] | Ground Floor | Fire Safety | 3 | 9 | 3.5 | 27
[6 empty] | Ground Floor | Corridor | 2 | 6 | 3.5 | 12
5 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 18 | 6 | 162 | 162 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (O&M Port) |  |  |  | Ground Floor | Warehouse | 9 | 18 | 6 | 162 | [7 empty] | Crane or Hoist 적용유무 확인 요망
6 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Island) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
7 |  | Warehouse | ST | 1 | 1 | - |  | 9 | 9 | 6 | 81 | 81 | [5 empty] | 기계 | SIZE(ARUP, 10/01) AWF-ARUP-V-19-009 Concept Design Report – Monitoring House 참조
|  | (Yeonggwang-gun) |  |  |  | Ground Floor | Warehouse | 9 | 9 | 6 | 81 | [7 empty] | Crane or Hoist 적용유무 확인 요망
TOTAL | [11 empty] | 2841.75
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist

## Building list(Rev.0)
BUILDING LIST
<안마도 220MW 해상풍력 / 대한민국>
[18 empty] | Rev.0 | 2021-09-29
NO. | PLOT PLAN NO. | BUILDING NAME | STR. TYPE | Q'TY | STORY | LOCATION |  | SIZE |  |  | FLOOR AREA | TOTAL AREA | LIFTING | SANITARY |  |  | LOUVER SIZE (m2) | 관련근거 작성부서 | REMARK
[8 empty] | W(m) | L(m) | H(m) | (m2) | (m2) | FACILITY | TOILET | SHOWER | KITCHEN TEA ROOM
1 |  | Offshore Substation | ST | 1 | 2 | - |  | 23 | 37 | 8 | 851 | 1302.75 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/22) AWF-ARUP-V-19-005 & 007 Part 2 Concept Design Report – Topside and Secondary 참조
|  | (Topside) |  |  |  | Lower Deck (EL+32.3m) |  | 23 | 37 | 8 | 507.5 | [7 empty] | Jacket legs : 19.0x19.0
[7 empty] | Control Room-1 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Control Room-2 |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Battery Room |  |  |  | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  |  | 0
[6 empty] | Equipment Deck (EL+40.3m) |  | 23 | 33 | - | 795.25
[7 empty] | MV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | HV GIS |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Main Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Aux./Earth Transformer |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Transformer Cooler |  |  | - | 0 | [7 empty] | Container Type
[7 empty] | Walkway |  |  | - | 0
2 |  | Monitoring House | RC | 1 | 1 | - |  | 30 | 30 | 6 | 900 | 900 | [5 empty] | 전기, 계장 | SIZE(ARUP, 09/25) AWF-ARUP-V-24-001 Defining and Documentation of O&M Strategy 참조
|  | (O&M Port) |  |  |  | Ground Floor | Operational Control Center | 12 | 30 | 6 | 360 | [7 empty] | Concept Design Report – Monitoring House document no. AWF-ARUP-V-19-009 : 자료 접수 후 수정예정
[6 empty] | Ground Floor | Marine Coordination Center | 10 | 14 | 6 | 140
[6 empty] | Ground Floor | Office | 10 | 6 | 6 | 60
[6 empty] | Ground Floor | Meeting Room-1 | 10 | 3 | 6 | 30
[6 empty] | Ground Floor | Meeting Room-2 | 10 | 5 | 6 | 50
[6 empty] | Ground Floor | Dining Area | 6 | 12 | 6 | 72
[6 empty] | Ground Floor | Kitchen | 8 | 4 | 6 | 32 |  |  |  |  | O
[6 empty] | Ground Floor | Rest Room | 6 | 5 | 6 | 30
[6 empty] | Ground Floor | Toilet (M) | 6 | 3 | 6 | 18 |  |  | O
[6 empty] | Ground Floor | Toilet (W) | 6 | 3 | 6 | 18 |  |  | O
[6 empty] | Ground Floor | Shower | 6 | 3 | 6 | 18 |  |  |  | O
[6 empty] | Ground Floor | Corridor | 2 | 36 | 6 | 72
3 |  | Monitoring House | RC | 1 | 1 | - |  | 6.4 | 10.5 | 3.5 | 67.2 | 67.2 | [5 empty] | 계장 | 2020.03.11 입찰자료
|  | (Island) |  |  |  | Ground Floor | Monitoring Room | 6.4 | 8 | 3.5 | 51.2 | [7 empty] | SIZE(CI, 03/05), Raised Floor H:600
[6 empty] | Ground Floor | Toilet | 3.5 | 2.5 | 3.5 | 8.75 |  |  | O
[6 empty] | Ground Floor | Corridor | 2.9 | 2.5 | 3.5 | 7.25
4 |  | Warehouse | ST | 1 | 1 | - |  | 12 | 35 | 6 | 420 | 420 | [5 empty] | 기계 | SIZE(ARUP, 09/25) AWF-ARUP-V-24-001 Defining and Documentation of O&M Strategy 참조
[6 empty] | Ground Floor | Storage | 12 | 21 | 6 | 252 | [7 empty] | Crane or Hoist 적용유무 확인 요망
[6 empty] | Ground Floor | Workshop | 12 | 14 | 6 | 168 | [7 empty] | Crane or Hoist 적용유무 확인 요망
TOTAL | [11 empty] | 2689.95
※ Note : | 1. The dimension of each building specified above are indicative only, and shall be subject to change according to the detail design of project implementation stage. 2. OHC : Overhead Crane, H : Hoist