## Sheet1
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | LENGTH | HEIGHT | AREA | TOTAL AREA | ADJACENT SPACES | lev | PREFERENCE | ADJACENT DEPARTMENTS | Rotate | DEPARTMENTS ADJ
0 | Cable Room | EL | 0 | 1 | 21000 | 44000 | 4000 | 924000000 | 924000000 | 1, | B1 | 5 |  | 1 | A
1 | Stairway | PATHV1 | 5 | 1 | 4000 | 9000 | 6000 | 36000000 | 36000000 | 4, | B1 | 2 |  | 0 | B
2 | Switchgear Room | EL | 0 | 1 | 6500 | 9000 | 6000 | 58500000 | 58500000 | 4, | GF | 6 |  | 1 | C
3 | Battery Room | EL | 0 | 1 | 9000 | 12000 | 6000 | 108000000 | 108000000 | 4, | GF | 10 |  | 1 | C
4 | Stairway | PATHV1 | 5 | 1 | 4000 | 9000 | 6000 | 36000000 | 36000000 | 8, | GF | 10 |  | 0 | D
5 | Electronic Room | CI | 2 | 1 | 18600 | 23200 | 6000 | 431520000 | 431520000 | 6,7, | 1st | 7 |  | 1 | E
6 | Electrical Room | EL | 0 | 1 | 12800 | 18600 | 6000 | 238080000 | 238080000 | 7, | 1st |  |  | 1 | F
7 | Corridor | AR | 1 | 1 | 2000 | 2000 | 6000 | 4000000 | 4000000 | 8, | 1st | 3 |  | 0 | G
8 | Stairway | PATHV1 | 5 | 1 | 4000 | 9000 | 6000 | 36000000 | 36000000 | 19, | 1st | 1 |  | 0 | H
9 | Duct Shaft | PATHV2 | 3 | 1 | 2700 | 6000 | 6000 | 16200000 | 16200000 | 8, | 1st | 1 |  | 0 | I
10 | Pipe Shaft | PATHV3 | 6 | 1 | 1000 | 2500 | 6000 | 2500000 | 2500000 | 8, | 1st | 5 |  | 0 | J
11 | Central Control Room | CI | 4 | 1 | 9000 | 32000 | 6000 | 288000000 | 288000000 | 12,18, | 2nd |  |  | 1 | K
12 | Engineer Room | CI | 4 | 1 | 9600 | 12500 | 6000 | 120000000 | 120000000 | 11,18, | 2nd | 10 |  | 1 | K
13 | Document Room | AR | 1 | 1 | 5000 | 9600 | 6000 | 48000000 | 48000000 | 18,20, | 2nd | 12 |  | 0 | L
14 | Fire Gas Room | AR | 1 | 1 | 1000 | 1000 | 6000 | 1000000 | 1000000 | 12, | 2nd | 12 |  | 0 | L
15 | Kitch & Lunch Room | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 18, | 2nd | 12 |  | 0 | L
16 | Toilet (M) | AR | 1 | 1 | 6000 | 12000 | 6000 | 72000000 | 72000000 | 17,18, | 2nd | 12 |  | 0 | L
17 | Toilet (F) | AR | 1 | 1 | 6000 | 12000 | 6000 | 72000000 | 72000000 | 18, | 2nd | 12 |  | 0 | L
18 | Corridor | AR | 1 | 1 | 2000 | 1000 | 6000 | 2000000 | 2000000 | 19, | 2nd | 12 |  | 0 | L
19 | Stairway | PATHV1 | 5 | 1 | 4000 | 9000 | 6000 | 36000000 | 36000000 | 4, | 2nd | 12 |  | 0 | M
20 | Shift Office Room | AR | 1 | 1 | 4500 | 9600 | 6000 | 43200000 | 43200000 | 21, | 2nd | 12 |  | 0 | L
21 | LOTO Office Room | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 18, | 2nd | 12 |  | 0 | L
22 | Shower Room (F) | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 17, | 2nd | 12 |  | 0 | L
23 | Locker Room (F) | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 17,22, | 2nd | 12 |  | 0 | L
24 | Shower Room (M) | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 16, | 2nd | 12 |  | 0 | L
25 | Locker Room (M) | AR | 1 | 1 | 3500 | 9000 | 6000 | 31500000 | 31500000 | 16,24, | 2nd | 12 |  | 0 | L
26 | Duct Shaft | PATHV2 | 3 | 1 | 2700 | 6000 | 6000 | 16200000 | 16200000 | 19, | 2nd | 12 |  | 0 | N
27 | Pipe Shaft | PATHV3 | 6 | 1 | 1000 | 2500 | 6000 | 2500000 | 2500000 | 19, | 2nd | 12 |  | 0 | O

## Sheet9
6
6
6
6
6
6
0.1.2.3.4.5
11
11
11
11
7.8.9.10

## Sheet8
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | HEIGHT | AREA | TOTAL AREA | PREFERENCE | ADJACENT SPACES | ADJACENT DEPARTMENTS | lev
0 | A | EL | 0 | 1 |  |  | 5000000 | 5000000 | 5 | 0 |  | B1
1 | B | EL | 0 | 1 |  |  | 5000000 | 5000000 | 2 | 0.6 |  | B1
2 | C | EL | 0 | 1 |  |  | 5000000 | 5000000 | 6 | 4 | 1.3 | GL
3 | D | EL | 0 | 1 |  |  | 5000000 | 5000000 | 10 | 0 |  | GL
4 | E | AR | 1 | 1 |  |  | 5000000 | 5000000 | 10 | 0 |  | GL
5 | F | CI | 2 | 1 |  |  | 5000000 | 5000000 | 7 | 4 |  | 1st
6 | G | EL | 0 | 1 |  |  | 5000000 | 5000000 | 3 | 4.7.8 |  | 1st
7 | H | AR | 1 | 1 |  |  | 5000000 | 5000000 | 1 | 6.8 | 0.2.3 | 1st
8 | I | AR | 1 | 1 |  |  | 5000000 | 5000000 | 1 | 6.7 |  | 1st
9 | J | HV | 4 | 1 |  |  | 5000000 | 5000000 | 5 | 10.11 |  | 1st
10 | K | HV | 4 | 1 |  |  | 5000000 | 5000000 | 6 | 9.11.12.13 |  | 1st
11 | L | CI | 2 | 1 |  |  | 5000000 | 5000000 | 3 | 8.13.11 |  | 2nd
12 | M | CI | 2 | 1 |  |  | 5000000 | 5000000 | 7 | 13.11 |  | 2nd
13 | N | AR | 1 | 1 |  |  | 5000000 | 5000000 | 9 | 9.10.11 |  | 2nd
14 | O | SF | 3 | 1 |  |  | 5000000 | 5000000 | 0 | 0 |  | 2nd
15 | P | EL | 1 | 1 |  |  | 5000000 | 5000000 | 7 | 8 |  | 2nd
16 | Q | EL | 1 | 1 |  |  | 5000000 | 5000000 | 4 | 8 |  | 2nd
17 | R | D | 1 | 1 |  |  | 5000000 | 5000000 | 8 | 18.1 |  | 2nd
18 | S | D | 1 | 1 |  |  | 5000000 | 5000000 | 8 | 17.1 |  | 2nd
19 | T | D | 1 | 1 |  |  | 5000000 | 5000000 | 8 | 17.18 |  | 2nd
20 | U | EL | 1 | 1 |  |  | 5000000 | 5000000 | 2 | 21.8.22 | 0.1 | 2nd
21 | V | AR | 1 | 1 |  |  | 5000000 | 5000000 | 2 | 20.8.22 |  | 2nd
22 | W | AR | 1 | 1 |  |  | 5000000 | 5000000 | 3 | 20.21 | 0.1.2 | 2nd
23 | X | AR | 1 | 1 |  |  | 5000000 | 5000000 | 4 | 8 |  | 2nd
24 | Y | AR | 1 | 1 |  |  | 5000000 | 5000000 | 2 | 25.27 |  | 2nd
25 | Z | AR | 1 | 1 |  |  | 5000000 | 5000000 | 4 | 24.26 |  | 2nd
26 | AA | HV | 4 | 1 |  |  | 5000000 | 5000000 | 8 | 28 |  | 2nd
27 | BB | HV | 4 | 1 |  |  | 5000000 | 5000000 | 3 | 6.24 |  | 2nd

## Sheet7
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | HEIGHT | AREA | TOTAL AREA | PREFERENCE | ADJACENT SPACES | ADJACENT DEPARTMENTS | lev
0 | Switchgear Room | EL | 0 | 1 |  |  | 5850 | 5850 | 6 | 4 | 1.3 | GF
1 | Battery Room | EL | 0 | 1 |  |  | 10800 | 10800 | 10 | 0 |  | GF
2 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 10 | 0 |  | GF
3 | Cable Room | EL | 0 | 1 |  |  | 92400 | 92400 | 5 | 0 |  | B1
4 | Stairway | EL | 0 | 1 |  |  | 3600 | 3600 | 2 | 0.6 |  | B1
5 | Electronic Room | CI | 2 | 1 |  |  | 43152 | 43152 | 7 | 4 |  | 1st
6 | Electrical Room | EL | 0 | 1 |  |  | 23808 | 23808 | 3 | 4.7.8 |  | 1st
7 | Corridor | AR | 1 | 1 |  |  | 8640 | 8640 | 1 | 6.8 | 0.2.3 | 1st
8 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 1 | 6.7 |  | 1st
9 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 5 | 10.11 |  | 1st
10 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 6 | 9.11.12.13 |  | 1st
11 | Central Control Room | CI | 2 | 1 |  |  | 28800 | 28800 | 3 | 8.13.11 |  | 2nd
12 | Engineer Room | CI | 2 | 1 |  |  | 12000 | 12000 | 7 | 13.11 |  | 2nd
13 | Document Room | AR | 1 | 1 |  |  | 4800 | 4800 | 9 | 9.10.11 |  | 2nd
14 | Fire Gas Room | SF | 3 | 1 |  |  | 1000 | 1000 | 0 | 0 |  | 2nd
15 | Kitch & Lunch Room | E | 1 | 3 |  |  | 3000 | 9000 | 7 | 8 |  | 2nd
16 | Toilet (M) | E | 1 | 6 |  |  | 7000 | 42000 | 4 | 8 |  | 2nd
17 | Toilet (F) | D | 1 | 3 |  |  | 7000 | 21000 | 8 | 18.1 |  | 2nd
18 | Corridor | D | 1 | 1 |  |  | 1000 | 1000 | 8 | 17.1 |  | 2nd
19 | Stairway | D | 1 | 1 |  |  | 3800 | 3800 | 8 | 17.18 |  | 2nd
20 | Shift Office Room | E | 1 | 1 |  |  | 4320 | 4320 | 2 | 21.8.22 | 0.1 | 2nd
21 | LOTO Office Room | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 20.8.22 |  | 2nd
22 | Shower Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 3 | 20.21 | 0.1.2 | 2nd
23 | Locker Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 8 |  | 2nd
24 | Shower Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 25.27 |  | 2nd
25 | Locker Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 24.26 |  | 2nd
26 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 8 | 28 |  | 2nd
27 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 3 | 6.24 |  | 2nd

## Sheet6
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | HEIGHT | AREA | TOTAL AREA | PREFERENCE | ADJACENT SPACES | ADJACENT DEPARTMENTS | lev
0 | Switchgear Room | EL | 0 | 1 |  |  | 5850 | 5850 | 6 | 4 | 1.3 | GF
1 | Battery Room | EL | 0 | 1 |  |  | 10800 | 10800 | 10 | 0 |  | GF
2 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 10 | 0 |  | GF
3 | Cable Room | EL | 0 | 1 |  |  | 92400 | 92400 | 5 | 0 |  | B1
4 | Stairway | EL | 0 | 1 |  |  | 3600 | 3600 | 2 | 0.6 |  | B1
5 | Electronic Room | CI | 2 | 1 |  |  | 43152 | 43152 | 7 | 4 |  | 1st
6 | Electrical Room | EL | 0 | 1 |  |  | 23808 | 23808 | 3 | 4.7.8 |  | 1st
7 | Corridor | AR | 1 | 1 |  |  | 8640 | 8640 | 1 | 6.8 | 0.2.3 | 1st
8 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 1 | 6.7 |  | 1st
9 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 5 | 10.11 |  | 1st
10 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 6 | 9.11.12.13 |  | 1st
11 | Central Control Room | CI | 2 | 1 |  |  | 28800 | 28800 | 3 | 8.13.11 |  | 2nd
12 | Engineer Room | CI | 2 | 1 |  |  | 12000 | 12000 | 7 | 13.11 |  | 2nd
13 | Document Room | AR | 1 | 1 |  |  | 4800 | 4800 | 9 | 9.10.11 |  | 2nd
14 | Fire Gas Room | SF | 3 | 1 |  |  | 1000 | 1000 | 0 | 0 |  | 2nd
15 | Kitch & Lunch Room | AR | 1 | 1 |  |  | 3150 | 3150 | 7 | 8 |  | 2nd
16 | Toilet (M) | AR | 1 | 1 |  |  | 7200 | 7200 | 4 | 8 |  | 2nd
17 | Toilet (F) | AR | 1 | 1 |  |  | 7200 | 7200 | 8 | 18.1 |  | 2nd
18 | Corridor | AR | 1 | 1 |  |  | 1000 | 1000 | 8 | 17.1 |  | 2nd
19 | Stairway | AR | 1 | 1 |  |  | 3800 | 3800 | 8 | 17.18 |  | 2nd
20 | Shift Office Room | AR | 1 | 1 |  |  | 4320 | 4320 | 2 | 21.8.22 | 0.1 | 2nd
21 | LOTO Office Room | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 20.8.22 |  | 2nd
22 | Shower Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 3 | 20.21 | 0.1.2 | 2nd
23 | Locker Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 8 |  | 2nd
24 | Shower Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 25.27 |  | 2nd
25 | Locker Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 24.26 |  | 2nd
26 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 8 | 28 |  | 2nd
27 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 3 | 6.24 |  | 2nd

## Sheet5
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | HEIGHT | AREA | TOTAL AREA | PREFERENCE | ADJACENT SPACES | ADJACENT DEPARTMENTS | lev
0 | Switchgear Room | EL | 0 | 1 |  |  | 5850 | 5850 | 6 | 4 | 1.3 | GF
1 | Battery Room | EL | 0 | 1 |  |  | 10800 | 10800 | 10 | 0 |  | GF
2 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 10 | 0 |  | GF
3 | Cable Room | EL | 0 | 1 |  |  | 92400 | 92400 | 5 | 0 |  | B1
4 | Stairway | EL | 0 | 1 |  |  | 3600 | 3600 | 2 | 0.6 |  | B1
5 | Electronic Room | CI | 2 | 1 |  |  | 43152 | 43152 | 7 | 4 |  | 1st
6 | Electrical Room | EL | 0 | 1 |  |  | 23808 | 23808 | 3 | 4.7.8 |  | 1st
7 | Corridor | AR | 1 | 1 |  |  | 8640 | 8640 | 1 | 6.8 | 0.2.3 | 1st
8 | Stairway | AR | 1 | 1 |  |  | 3600 | 3600 | 1 | 6.7 |  | 1st
9 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 5 | 10.11 |  | 1st
10 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 6 | 9.11.12.13 |  | 1st
11 | Central Control Room | CI | 2 | 1 |  |  | 28800 | 28800 | 3 | 8.13.11 |  | 2nd
12 | Engineer Room | CI | 2 | 1 |  |  | 12000 | 12000 | 7 | 13.11 |  | 2nd
13 | Document Room | AR | 1 | 1 |  |  | 4800 | 4800 | 9 | 9.10.11 |  | 2nd
14 | Fire Gas Room | SF | 3 | 1 |  |  | 1000 | 1000 | 0 | 0 |  | 2nd
15 | Kitch & Lunch Room | AR | 1 | 1 |  |  | 3150 | 3150 | 7 | 8 |  | 2nd
16 | Toilet (M) | AR | 1 | 1 |  |  | 7200 | 7200 | 4 | 8 |  | 2nd
17 | Toilet (F) | AR | 1 | 1 |  |  | 7200 | 7200 | 8 | 18.1 |  | 2nd
18 | Corridor | AR | 1 | 1 |  |  | 1000 | 1000 | 8 | 17.1 |  | 2nd
19 | Stairway | AR | 1 | 1 |  |  | 3800 | 3800 | 8 | 17.18 |  | 2nd
20 | Shift Office Room | AR | 1 | 1 |  |  | 4320 | 4320 | 2 | 21.8.22 | 0.1 | 2nd
21 | LOTO Office Room | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 20.8.22 |  | 2nd
22 | Shower Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 3 | 20.21 | 0.1.2 | 2nd
23 | Locker Room (F) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 8 |  | 2nd
24 | Shower Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 2 | 25.27 |  | 2nd
25 | Locker Room (M) | AR | 1 | 1 |  |  | 3150 | 3150 | 4 | 24.26 |  | 2nd
26 | Duct Shaft | HV | 4 | 1 |  |  | 1620 | 1620 | 8 | 28 |  | 2nd
27 | Pipe Shaft | HV | 4 | 1 |  |  | 250 | 250 | 3 | 6.24 |  | 2nd

## Sheet4
SPACE ID | SPACE NAME | DEPARTMENT | DEPARTMENT ID | QUANTITY | WIDTH | HEIGHT | AREA | TOTAL AREA | PREFERENCE | ADJACENT SPACES | ADJACENT DEPARTMENTS
0 | Switchgear Room | EL | 0 | 1 | 65 | 60 | 58.5 | 58.5 | 6 | 4 | 1.3
1 | Battery Room | EL | 0 | 1 | 90 | 60 | 108 | 108 | 10 | 0
2 | Stairway | AR | 1 | 1 | 40 | 60 | 36 | 36 | 10 | 0
3 | Cable Room | EL | 0 | 1 | 210 | 40 | 924 | 924 | 5 | 0
4 | Stairway | EL | 0 | 1 | 40 | 40 | 36 | 36 | 2 | 0.6
5 | Electronic Room | CI | 2 | 1 | 186 | 60 | 431.52 | 431.52 | 7 | 4
6 | Electrical Room | EL | 0 | 1 | 128 | 60 | 238.08 | 238.08 | 3 | 4.7.8
7 | Corridor | AR | 1 | 1 | 24 | 60 | 86.4 | 86.4 | 1 | 6.8 | 0.2.3
8 | Stairway | AR | 1 | 1 | 40 | 60 | 36 | 36 | 1 | 6.7
9 | Duct Shaft | HV | 4 | 1 | 27 | 60 | 16.2 | 16.2 | 5 | 10.11
10 | Pipe Shaft | HV | 4 | 1 | 10 | 60 | 2.5 | 2.5 | 6 | 9.11.12.13
11 | Central Control Room | CI | 2 | 1 | 90 | 60 | 288 | 288 | 3 | 8.13.11
12 | Engineer Room | CI | 2 | 1 | 96 | 60 | 120 | 120 | 7 | 13.11
13 | Document Room | AR | 1 | 1 | 50 | 60 | 48 | 48 | 9 | 9.10.11
14 | Fire Gas Room | SF | 3 | 1 | 10 | 60 | 0 | 0 | 0 | 0
15 | Kitch & Lunch Room | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 7 | 8
16 | Toilet (M) | AR | 1 | 1 | 60 | 60 | 72 | 72 | 4 | 8
17 | Toilet (F) | AR | 1 | 1 | 60 | 60 | 72 | 72 | 8 | 18.1
18 | Corridor | AR | 1 | 1 | 20 | 60 | 0 | 0 | 8 | 17.1
19 | Stairway | AR | 1 | 1 | 40 | 60 | 38 | 38 | 8 | 17.18
20 | Shift Office Room | AR | 1 | 1 | 45 | 60 | 43.2 | 43.2 | 2 | 21.8.22 | 0.1
21 | LOTO Office Room | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 2 | 20.8.22
22 | Shower Room (F) | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 3 | 20.21 | 0.1.2
23 | Locker Room (F) | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 4 | 8
24 | Shower Room (M) | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 2 | 25.27
25 | Locker Room (M) | AR | 1 | 1 | 35 | 60 | 31.5 | 31.5 | 4 | 24.26
26 | Duct Shaft | HV | 4 | 1 | 27 | 60 | 16.2 | 16.2 | 8 | 28
27 | Pipe Shaft | HV | 4 | 1 | 10 | 60 | 2.5 | 2.5 | 3 | 6.24

## Sheet3
0 ROOM NAME | 1 DEPARTMENT | 2 PROGRAM AREA | 3 QUANTITY | 4 TOTAL AREA | 5 HEIGHT | 7 LENGTH | 8 WIDTH | 6 COLOR(Ref. Color Selection Sheet For Correct Name) | lev | Interior Finish | Exterior Finish
Switchgear Room | EL | 58.5 | 1 | 58.5 | 6000 | 9000 | 6500 | Blue | GF | IF1 | EF1
Battery Room | EL | 108 | 1 | 108 | 6000 | 12000 | 9000 | Blue | GF | IF4 | EF1
Stairway | AR | 36 | 1 | 36 | 6000 | 9000 | 4000 | Lavender | GF | IF2 | EF1
Cable Room | EL | 924 | 1 | 924 | 4000 | 44000 | 21000 | Blue | B1 | IF1 | EF1
Stairway | EL | 36 | 1 | 36 | 4000 | 9000 | 4000 | Blue | B1 | IF2 | EF1
Electronic Room | CI | 431.52 | 1 | 431.52 | 6000 | 23200 | 18600 | Lime | 1st | IF1 | EF1
Electrical Room | EL | 238.08 | 1 | 238.08 | 6000 | 18600 | 12800 | Blue | 1st | IF1 | EF1
Corridor | AR | 86.4 | 1 | 86.4 | 6000 | 36000 | 2400 | Lavender | 1st | IF2-1 | EF1
Stairway | AR | 36 | 1 | 36 | 6000 | 9000 | 4000 | Lavender | 1st | IF2 | EF1
Duct Shaft | HV | 16.2 | 1 | 16.2 | 6000 | 6000 | 2700 | Pink | 1st | NA | EF1
Pipe Shaft | HV | 2.5 | 1 | 2.5 | 6000 | 2500 | 1000 | Pink | 1st | NA | EF1
Central Control Room | CI | 288 | 1 | 288 | 6000 | 32000 | 9000 | Lime | 2nd | IF3 | EF1
Engineer Room | CI | 120 | 1 | 120 | 6000 | 12500 | 9600 | Lime | 2nd | IF3 | EF1
Document Room | AR | 48 | 1 | 48 | 6000 | 9600 | 5000 | Lavender | 2nd | IF2-1 | EF1
Fire Gas Room | SF | 0 | 1 | 0 | 6000 | 1000 | 1000 | Cyan | 2nd | IF1 | EF1
Kitch & Lunch Room | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF2-1 | EF1
Toilet (M) | AR | 72 | 1 | 72 | 6000 | 12000 | 6000 | Lavender | 2nd | IF5 | EF1
Toilet (F) | AR | 72 | 1 | 72 | 6000 | 12000 | 6000 | Lavender | 2nd | IF5 | EF1
Corridor | AR | 0 | 1 | 0 | 6000 | 1000 | 2000 | Lavender | 2nd | IF2-1 | EF1
Stairway | AR | 38 | 1 | 38 | 6000 | 9500 | 4000 | Lavender | 2nd | IF2 | EF1
Shift Office Room | AR | 43.2 | 1 | 43.2 | 6000 | 9600 | 4500 | Lavender | 2nd | IF2-1 | EF1
LOTO Office Room | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF2-1 | EF1
Shower Room (F) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF5 | EF1
Locker Room (F) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF2-1 | EF1
Shower Room (M) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF5 | EF1
Locker Room (M) | AR | 31.5 | 1 | 31.5 | 6000 | 9000 | 3500 | Lavender | 2nd | IF2-1 | EF1
Duct Shaft | HV | 16.2 | 1 | 16.2 | 6000 | 6000 | 2700 | Pink | 2nd | NA | EF1
Pipe Shaft | HV | 2.5 | 1 | 2.5 | 6000 | 2500 | 1000 | Pink | 2nd | NA | EF1

## Sheet2
| Space ID |  | Space Name |  |  |  |  | Area (m2) | Adjacent Spaces | Deparment | Deparment ID | Adjacent Departments |  |  |  | Interior Finish | Exterior Finish
Floor | Room ID | Room KKS ID | Room Name | Width (m) | Length (m) | Height (m) | C.H (m) | Area (m2) | Adjacent Room | Dicipline | Dicipline ID | Adjacent Dicipline | Colour | Occupancy | Mass |  |  | Dicipline | Dicipline ID | Colour
B1 |  |  |  | 21 | 44 | 4 |  | 924 | [9 empty] | PPR | 0 | Orange
| 0 | UCA01R0001 | Cable Room | 21 | 44 | 4 |  | 924 |  | EL | 1 |  | 0 | Industrial Low Hazard | B0 |  |  | EL | 1 | Yellow
| 1 | UCA01R0002 | Stairway | 4 | 9 | 4 |  | 36 |  | AR | 7 |  | 0 |  | B1 |  |  | CI | 2 | Lime
[18 empty] | PI | 3
GF |  |  |  | 21 | 44 | 6 |  | 924 | [9 empty] | EN | 4
| 0 | UCA02R0001 | Switchgear Room | 6.5 | 9 | 6 |  | 58.5 | 1 | EL | 1 |  | 0 |  | 1F1 |  |  | MR | 5
| 1 | UCA02R0002 | Battery Room | 9 | 12 | 6 |  | 108 | 0 | EL | 1 |  | 0 |  | 1F2 |  |  | CV | 6
| 2 | UCA02R0003 | Stairway | 4 | 9 | 6 |  | 36 |  | AR | 7 |  | 0 |  | 1F2 |  |  | AR | 7 | Cyan
[18 empty] | HV | 8
1st |  |  |  | 21 | 44 | 6 |  | 924 | [9 empty] | SF | 9
| 0 | UCA03R0001 | Electronic Room | 18.6 | 23.2 | 6 |  | 431.52 | 1 | CI | 2 | 1 | 0 |  | 2F1
| 1 | UCA03R0002 | Electrical Room | 12.8 | 18.6 | 6 |  | 238.08 | 0 | EL | 1 | 2 | 0 |  | 2F2
| 2 | UCA03R0003 | Corridor | 2.4 | 36 | 6 | 2.7 | 86.4 |  | AR | 7 |  | 0 |  | 2F3
| 3 | UCA03R0004 | Stairway | 4 | 9 | 6 |  | 36 | 4,5 | AR | 7 |  | 0 |  | 2F4
| 4 |  | Duct Shaft | 2.7 | 6 | 6 |  | 16.2 | 3,5 | HV | 8 |  |  |  | 2F5
| 5 |  | Pipe Shaft | 1 | 2.5 | 6 |  | 2.5 | 3,4 | HV | 8 |  |  |  | 2F6
2nd |  |  |  | 21 | 44 | 6 |  | 924
| 0 | UCA04R0001 | Central Control Room | 9 | 32 | 6 | 3.4 | 288 | 1 | CI | 2 |  | 0 |  | 3F1
| 1 | UCA04R0002 | Engineer Room | 9.6 | 12.5 | 6 | 3 | 120 | 0 | CI | 2 |  | 0 |  | 3F2
| 2 | UCA04R0003 | Document Room | 5 | 9.6 | 6 | 2.7 | 48 |  | AR | 7 |  | 0 |  | 3F3
| 3 | UCA04R0004 | Fire Gas Room |  |  | 6 |  | 0 |  | SF | 9 |  | 0 |  | 3F4
| 4 | UCA04R0006 | Kitch & Lunch Room | 3.5 | 9 | 6 | 2.7 | 31.5 |  | AR | 7 |  | 0 |  | 3F5
| 5 | UCA04R0007 | Toilet (M) | 6 | 12 | 6 | 2.7 | 72 | 6,11,12,13,14 | AR | 7 |  | 0 |  | 3F6
| 6 | UCA04R0008 | Toilet (F) | 6 | 12 | 6 | 2.7 | 72 | 5,11,12,13,14 | AR | 7 |  | 0 |  | 3F7
| 7 | UCA04R0009 | Corridor | 2 |  | 6 | 2.7 | 0 |  | AR | 7 |  |  |  | 3F8
| 8 | UCA04R0010 | Stairway | 4 | 9.5 | 6 |  | 38 | 15,16 | AR | 7 |  |  |  | 3F9
| 9 | UCA04R0011 | Shift Office Room | 4.5 | 9.6 | 6 | 2.7 | 43.2 |  | AR | 7 |  | 0 |  | 3F10
| 10 | UCA04R0012 | LOTO Office Room | 3.5 | 9 | 6 | 2.7 | 31.5 |  | AR | 7 |  |  |  | 3F11
| 11 | UCA04R0013 | Shower Room (F) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,12,13,14 | AR | 7 |  |  |  | 3F12
| 12 | UCA04R0014 | Locker Room (F) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,13,14 | AR | 7 |  |  |  | 3F13
| 13 | UCA04R0015 | Shower Room (M) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,12,14 | AR | 7 |  |  |  | 3F14
| 14 | UCA04R0016 | Locker Room (M) | 3.5 | 9 | 6 | 2.7 | 31.5 | 5,6,11,12,13 | AR | 7 |  |  |  | 3F15
| 15 |  | Duct Shaft | 2.7 | 6 | 6 |  | 16.2 | 8,16 | HV | 8 |  |  |  | 3F16
| 16 |  | Pipe Shaft | 1 | 2.5 | 6 |  | 2.5 | 8,15 | HV | 8 |  |  |  | 3F17
Exterior Finish 산출용 면적 ?

## COLOR SELECTION
Gray
ShepleyBlue
Pink
Magenta
Purple
Lavender
Blue
Cyan
Teal
Green
Lime
Yellow
Orange
Red
White

## department and id
EL | 0
AR | 1
CI | 2
SF | 3
HV | 4