## Wall_Calc_instance
HEC Bidding Calculation Sheet
Item Number | Room Name | Department | Interior Finish Type | WorkMaster Code | WorkMaster Description | Unit | 계수 | 계산 참조값 | Quantities | Unit Price | Total Price
1 | Central Control Room | CI | IF3 | A04AM083-00005 | Anti-Static Vinyl Tile(Floor) | M2 | 1 | 286.880000 | 286.88 |  | 0
2 | Central Control Room | CI | IF3 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 83.968090 | 335.8724 |  | 0
3 | Central Control Room | CI | IF3 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 83.968090 | 83.9681 |  | 0
4 | Central Control Room | CI | IF3 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 286.880000 | 286.88 |  | 0
5 | Corridor | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 208.930000 | 208.93 |  | 0
6 | Corridor | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 147.858520 | 591.4341 |  | 0
7 | Corridor | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 147.858520 | 147.8585 |  | 0
8 | Corridor | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 208.930000 | 208.93 |  | 0
9 | Document Room | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 27.470000 | 27.47 |  | 0
10 | Document Room | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 20.793620 | 83.1745 |  | 0
11 | Document Room | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 20.793620 | 20.7936 |  | 0
12 | Document Room | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 27.470000 | 27.47 |  | 0
13 | Duct Shaft | HV | NA | na | na | na | 0 | 16.140000 | 0 |  | 0
14 | Duct Shaft | HV | NA | na | na | na | 0 | 17.196810 | 0 |  | 0
15 | Duct Shaft | HV | NA | na | na | na | 0 | 17.196810 | 0 |  | 0
16 | Duct Shaft | HV | NA | na | na | na | 0 | 16.140000 | 0 |  | 0
17 | Engineer Room | CI | IF3 | A04AM083-00005 | Anti-Static Vinyl Tile(Floor) | M2 | 1 | 120.940000 | 120.94 |  | 0
18 | Engineer Room | CI | IF3 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 45.390430 | 181.5617 |  | 0
19 | Engineer Room | CI | IF3 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 45.390430 | 45.3904 |  | 0
20 | Engineer Room | CI | IF3 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 120.940000 | 120.94 |  | 0
21 | Fire Gas Room | SF | IF1 | A04AL080-00006 | Epoxy paint(Floor) | M2 | 1 | 55.360000 | 55.36 |  | 0
22 | Fire Gas Room | SF | IF1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 33.984050 | 135.9362 |  | 0
23 | Fire Gas Room | SF | IF1 | A04AL081-00007 | Epoxy paint H=100(Skirt) | M | 1 | 33.984050 | 33.9841 |  | 0
24 | Fire Gas Room | SF | IF1 | A04AL079-00003 | Latex Paint(Ceiling) | M2 | 1 | 55.360000 | 55.36 |  | 0
25 | Kitch & Lunch Room | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 47.150000 | 47.15 |  | 0
26 | Kitch & Lunch Room | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 36.593620 | 146.3745 |  | 0
27 | Kitch & Lunch Room | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 36.593620 | 36.5936 |  | 0
28 | Kitch & Lunch Room | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 47.150000 | 47.15 |  | 0
29 | Locker Room (F) | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 6.000000 | 6 |  | 0
30 | Locker Room (F) | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 9.800000 | 39.2 |  | 0
31 | Locker Room (F) | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 9.800000 | 9.8 |  | 0
32 | Locker Room (F) | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 6.000000 | 6 |  | 0
33 | Locker Room (M) | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 25.140000 | 25.14 |  | 0
34 | Locker Room (M) | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 19.996810 | 79.9872 |  | 0
35 | Locker Room (M) | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 19.996810 | 19.9968 |  | 0
36 | Locker Room (M) | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 25.140000 | 25.14 |  | 0
37 | LOTO Office Room | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 17.880000 | 17.88 |  | 0
38 | LOTO Office Room | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 17.593620 | 70.3745 |  | 0
39 | LOTO Office Room | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 17.593620 | 17.5936 |  | 0
40 | LOTO Office Room | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 17.880000 | 17.88 |  | 0
41 | Pipe Shaft | HV | NA | na | na | na | 0 | 2.440000 | 0 |  | 0
42 | Pipe Shaft | HV | NA | na | na | na | 0 | 6.796810 | 0 |  | 0
43 | Pipe Shaft | HV | NA | na | na | na | 0 | 6.796810 | 0 |  | 0
44 | Pipe Shaft | HV | NA | na | na | na | 0 | 2.440000 | 0 |  | 0
45 | Shift Office Room | AR | IF2-1 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 23.750000 | 23.75 |  | 0
46 | Shift Office Room | AR | IF2-1 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 20.593620 | 82.3745 |  | 0
47 | Shift Office Room | AR | IF2-1 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 20.593620 | 20.5936 |  | 0
48 | Shift Office Room | AR | IF2-1 | A04AR156-00002 | Acoustic Tiled Ceiling System, T-Bar(Ceiling) | M2 | 1 | 23.750000 | 23.75 |  | 0
49 | Shower Room (F) | AR | IF5 | A04AM083-00001 | Ceramic Tile(Floor) | M2 | 1 | 3.540000 | 3.54 |  | 0
50 | Shower Room (F) | AR | IF5 | A04AM082-00002 | Glazed Ceramic Tile, H=1.8(Wall) | M2 | 1.800000 | 7.596810 | 13.6743 |  | 0
51 | Shower Room (F) | AR | IF5 | A04AN000-00001 | Waterproofing Membrane, H=1.8m(Wall) | M2 | 1.800000 | 7.596810 | 13.6743 |  | 0
52 | Shower Room (F) | AR | IF5 | A04AL078-00003 | Latex Paint(Wall) | M2 | 2.200000 | 7.596810 | 16.713 |  | 0
53 | Shower Room (F) | AR | IF5 | A04AM084-00004 | Glazed Ceramic Tile, H=100(Skirt) | M | 1 | 7.596810 | 7.5968 |  | 0
54 | Shower Room (F) | AR | IF5 | A04AR157-00002 | Moisture Resistant Tiled Ceiling System, T-bar(Ceiling) | M2 | 1 | 3.540000 | 3.54 |  | 0
55 | Shower Room (M) | AR | IF5 | A04AM083-00001 | Ceramic Tile(Floor) | M2 | 1 | 8.340000 | 8.34 |  | 0
56 | Shower Room (M) | AR | IF5 | A04AM082-00002 | Glazed Ceramic Tile, H=1.8(Wall) | M2 | 1.800000 | 13.996810 | 25.1943 |  | 0
57 | Shower Room (M) | AR | IF5 | A04AN000-00001 | Waterproofing Membrane, H=1.8m(Wall) | M2 | 1.800000 | 13.996810 | 25.1943 |  | 0
58 | Shower Room (M) | AR | IF5 | A04AL078-00003 | Latex Paint(Wall) | M2 | 2.200000 | 13.996810 | 30.793 |  | 0
59 | Shower Room (M) | AR | IF5 | A04AM084-00004 | Glazed Ceramic Tile, H=100(Skirt) | M | 1 | 13.996810 | 13.9968 |  | 0
60 | Shower Room (M) | AR | IF5 | A04AR157-00002 | Moisture Resistant Tiled Ceiling System, T-bar(Ceiling) | M2 | 1 | 8.340000 | 8.34 |  | 0
61 | Stairway | AR | IF2 | A04AM083-00004 | Vinyl Tile(Floor) | M2 | 1 | 35.620000 | 35.62 |  | 0
62 | Stairway | AR | IF2 | A04AL078-00003 | Latex Paint(Wall) | M2 | 4 | 26.187240 | 104.749 |  | 0
63 | Stairway | AR | IF2 | A04AR151-00001 | Coved Rubber Skirting, H=100(Skirt) | M | 1 | 26.187240 | 26.1872 |  | 0
64 | Stairway | AR | IF2 | A04AL079-00003 | Latex Paint(Ceiling) | M2 | 1 | 35.620000 | 35.62 |  | 0
65 | Toilet (F) | AR | IF5 | A04AM083-00001 | Ceramic Tile(Floor) | M2 | 1 | 13.440000 | 13.44 |  | 0
66 | Toilet (F) | AR | IF5 | A04AM082-00002 | Glazed Ceramic Tile, H=1.8(Wall) | M2 | 1.800000 | 15.796810 | 28.4343 |  | 0
67 | Toilet (F) | AR | IF5 | A04AN000-00001 | Waterproofing Membrane, H=1.8m(Wall) | M2 | 1.800000 | 15.796810 | 28.4343 |  | 0
68 | Toilet (F) | AR | IF5 | A04AL078-00003 | Latex Paint(Wall) | M2 | 2.200000 | 15.796810 | 34.753 |  | 0
69 | Toilet (F) | AR | IF5 | A04AM084-00004 | Glazed Ceramic Tile, H=100(Skirt) | M | 1 | 15.796810 | 15.7968 |  | 0
70 | Toilet (F) | AR | IF5 | A04AR157-00002 | Moisture Resistant Tiled Ceiling System, T-bar(Ceiling) | M2 | 1 | 13.440000 | 13.44 |  | 0
71 | Toilet (M) | AR | IF5 | A04AM083-00001 | Ceramic Tile(Floor) | M2 | 1 | 19.750000 | 19.75 |  | 0
72 | Toilet (M) | AR | IF5 | A04AM082-00002 | Glazed Ceramic Tile, H=1.8(Wall) | M2 | 1.800000 | 18.593620 | 33.4685 |  | 0
73 | Toilet (M) | AR | IF5 | A04AN000-00001 | Waterproofing Membrane, H=1.8m(Wall) | M2 | 1.800000 | 18.593620 | 33.4685 |  | 0
74 | Toilet (M) | AR | IF5 | A04AL078-00003 | Latex Paint(Wall) | M2 | 2.200000 | 18.593620 | 40.906 |  | 0
75 | Toilet (M) | AR | IF5 | A04AM084-00004 | Glazed Ceramic Tile, H=100(Skirt) | M | 1 | 18.593620 | 18.5936 |  | 0
76 | Toilet (M) | AR | IF5 | A04AR157-00002 | Moisture Resistant Tiled Ceiling System, T-bar(Ceiling) | M2 | 1 | 19.750000 | 19.75 |  | 0
[10 empty] | Total | 0